## 1st Quarter (January)
| LMCC - Awaba Waste Management Facility |  |  |  | Quarterly
Environment Protection License 5873 Quarterly water monitoring results
|  | EPL 5873 I.D. |  |  |  | MP1 | MP2 | MP3 | MP4 | MP5 | MP6 | MP7 | MP8 | MP9 | MP10
| Parameter | Unit | LOR | EPL 5873 | ANZG 2000 freshwater 95% LOP | MP8: No available Data; MP9: No available Data
| Standing water level (m) |  |  |  |  | MP1: 9.41; MP2: 3.58; MP3: 2.96; MP4: 3.9; MP5: 1.15
| Total Dissolved Solids | mg/L | 10
| pH (Lab) | pH units | 0.01 |  |  | 6.08 | 5.2 | 6.92 | 6.4 | 6.05 | 8.16 | 8.1
| pH (probe) | pH units | 0.01 |  |  | MP10: 8.28
| Total Suspended Solids | mg/L | 5 | 50 (MP6 & MP7) |  | MP6: 21; MP7: 22; MP10: 143
Metals | Reactive Phosphate | mg/kg | 0.01
| Aluminium (Filtered) | mg/L | 0.01 |  | pH>6.5 0.055
| Arsenic (Filtered) | mg/L | 0.001 |  | 0.013
| Barium (Filtered) | mg/L | 0.001
| Cadmium (Filtered) | mg/L | 0.0001 |  | 0.002
| Chromium (Filtered) | mg/L | 0.001
| Chromium (hexavalent) (Filtered) | mg/L | 0.01 |  | 0.01
| Cobalt (Filtered) | mg/L | 0.001
| Copper (Filtered) | mg/L | 0.001 |  | 0.014
| Iron (Filtered) | µg/L | 2 |  | 449 | 449 | 134 | 78 | 32400 | 2640 | 70 | 66 |  |  | 6600
| Lead (Filtered) | mg/L | 0.001 |  | 0.034
| Manganese (Filtered) | µg/L | 0.5 |  | 1.9 | 1210 | 65.5 | 548 | 846 | 683 | 13.9 | 1.1 |  |  | 669
| Mercury (Filtered) | mg/L | 0.0001 |  | 0.006
| Zinc (Filtered) | mg/L | 0.005 |  | 0.08
Per- and polyfluorinated alkyl substances | Perfluorooctanoic acid (PFOA) | µg/L | 0.01
| Perfluorooctane sulfonic acid (PFOS) | µg/L | 0.01
| Perfluorohexane sulfonic acid (PFHxS) | µg/L | 0.01
| Sum (PFHxS + PFOS) | µg/L | 0.01
| 4:2 Fluorotelomer sulfonic acid (4:2 FTS) | µg/L | 0.05
| 6:2 Fluorotelomer sulfonic acid (6:2 FTS) | µg/L | 0.05
| 8:2 Fluorotelomer sulfonic acid (8:2 FTS) | µg/L | 0.05
| 10:2 Fluorotelomer sulfonic acid (10:2 FTS) | µg/L | 0.05
| Perfluorobutane sulfonic acid (PFBS) | µg/L | 0.02
| Perfluorobutanoic acid (PFBA) | µg/L | 0.1
| Perfluorodecane sulfonic acid (PFDS) | µg/L | 0.02
| Perfluorodecanoic acid (PFDA) | µg/L | 0.02
| Perfluorododecanoic acid (PFDoDA) | µg/L | 0.02
| Perfluoroheptane sulfonic acid (PFHpS) | µg/L | 0.02
| Perfluoroheptanoic acid (PFHpA) | µg/L | 0.02
| Perfluorohexanoic acid (PFHxA) | µg/L | 0.02
| Perfluorononanoic acid (PFNA) | µg/L | 0.02
| Perfluorooctane sulfonamide (FOSA) | µg/L | 0.02
| Perfluoropentane sulfonic acid (PFPeS) | µg/L | 0.02
| Perfluoropentanoic acid (PFPeA) | µg/L | 0.02
| Perfluorotetradecanoic acid (PFTeDA) | µg/L | 0.05
| Perfluorotridecanoic acid (PFTrDA) | µg/L | 0.02
| Perfluoroundecanoic acid (PFUnDA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamide (EtFOSA) | µg/L | 0.05
| N-Ethyl perfluorooctane sulfonamidoacetic acid (EtFOSAA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamidoethanol (EtFOSE) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamide (MeFOSA) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamidoacetic acid (MeFOSAA) | µg/L | 0.02
| N-Methyl perfluorooctane sulfonamidoethanol (MeFOSE) | µg/L | 0.05
| Sum of PFAS | µg/L | 0.01
Total Petroleum Hydrocarbons | C6-C10 fraction | µg/L | 20 |  |  | MP10: <20
| C10-C16 fraction | µg/L | 100 |  |  | MP10: 130
| C16-C34 fraction | µg/L | 100 |  |  | MP10: 480
| C34-C40 fraction | µg/L | 100 |  |  | MP10: <100
| C10-C36 fraction (sum) | µg/L | 100 |  |  | MP10: 610
Total Recoverable Hydrocarbons | C6-C10 fraction | µg/L | 20
| C6-C10 fraction (minus BTEX)(F1) | µg/L | 20
| >C10-C16 (minus Naphthalene)(F2) | µg/L | 100
| >C10-C16 fraction | µg/L | 100
| >C16-C34 fraction | µg/L | 100
| >C34-C40 fraction | µg/L | 100
| >C10-C40 fraction (sum) | µg/L | 100
Major Ions | Chloride | mg/L | 1 |  |  | 261 | 348 | 209 | 342 | 1840 | 62 | 44 |  |  | 1580
| Calcium (Filtered) | mg/L | 1 |  |  | 21 | 2 | 80 | 54 | 24 | 29 | 28 |  |  | 127
| Fluoride | mg/L | 0.1 |  |  | 0.3 | 0.4 | 0.4 | 0.2 | 0.7 | 0.3 | 0.4 |  |  | 0.6
| Magnesium (Filtered) | mg/L | 1 |  |  | 33 | 14 | 32 | 38 | 109 | 12 | 9 |  |  | 82
| Potassium (Filtered) | mg/L | 1 |  |  | 8 | 5 | 36 | 18 | 19 | 19 | 14 |  |  | 522
| Sodium (Filtered) | mg/L | 1 |  |  | 150 | 255 | 173 | 186 | 1120 | 44 | 36 |  |  | 1300
| Total Anions | meq/L | 0.01
| Total Cations | meq/L | 0.01
| Sulfate (as SO4-) (Filtered) | mg/L | 1 |  |  | 40 | 113 | 9 | <1 | 258 | 40 | 13 |  |  | <50
| Ionic Balance | % | 0.01
Nutrients | Ammonia (as N) | mg/L | 0.01 |  | 0.9 | <0.10 | 0.08 | 7.89 | 6.7 | 0.28 | 0.12 | 0.25 |  |  | 401
| Nitrate (as N) | mg/L | 0.01 |  | 0.7 | <0.10 | 0.04 | <0.01 | <0.10 | <0.01 | <0.01 | <0.01 |  |  | <0.10
| Nitrite (as N) | mg/L | 0.01
| Nitrite + Nitrate as N | mg/L | 0.01
| Total phosphorus | mg/L | 0.01
BTEX | Benzene | µg/L | 5 |  | 950
| Toluene | µg/L | 1
| Ethylbenzene | µg/L | 2
| m&p-Xylene | µg/L | 2
| o-Xylene | µg/L | 2 |  | 350
| Total Xylenes | µg/L | 2
| Total BTEX | µg/L | 2
Monocyclic Aromatic Hydrocarbons | Naphthalene (used F2 calc) | µg/L | 5 |  | 16
| Styrene | µg/L | 5
| Isopropylbenzene | µg/L | 5
| n-butylbenzene | µg/L | 5
| n-propylbenzene | µg/L | 5
| p-isopropyltoluene | µg/L | 5
| sec-butylbenzene | µg/L | 5
| tert-butylbenzene | µg/L | 5
| 1,2,4-trimethylbenzene | µg/L | 5
| 1,3,5-trimethylbenzene | µg/L | 1
Polynuclear Aromatic Hydrocarbons | Benzo(a)pyrene TEQ calc (Zero) | µg/L | 0.5
| Naphthalene | µg/L | 1
| Acenaphthylene | µg/L | 1
| Acenaphthene | µg/L | 1
| Anthracene | µg/L | 1
| Fluorene | µg/L | 1
| Phenanthrene | µg/L | 1
| Fluoranthene | µg/L | 1
| Benz(a)anthracene | µg/L | 1
| Benzo(k)fluoranthene | µg/L | 1
| Benzo(b&j)fluoranthene | µg/L | 1
| Benzo(a)pyrene | µg/L | 0.5
| Chrysene | µg/L | 1
| Pyrene | µg/L | 1
| Benzo(g,h,i)perylene | µg/L | 1
| Dibenz(a,h)anthracene | µg/L | 1
| Indeno(1,2,3-cd)pyrene | µg/L | 1
| Sum of PAHs | µg/L | 0.5
Phenols | 3/4-Methylphenol (m/p-cresol) | µg/L | 2
| Phenol | µg/L | 1 |  | 320
| 2-Chlorophenol | µg/L | 1 |  | 490
| 2-Methylphenol (o-Cresol) | µg/L | 1
| 2-Nitrophenol | µg/L | 1
| 2,4-Dichlorophenol | µg/L | 1
| 2,4-Dimethylphenol | µg/L | 1
| 2,6-Dichlorophenol | µg/L | 1
| 4-Chloro-3-methylphenol | µg/L | 1
| 2,4,6-Trichlorophenol | µg/L | 1 |  | 20
| 2,4,5-Trichlorophenol | µg/L | 1
| Pentachlorophenol | µg/L | 2 |  | 10
| Sum of Phenols | µg/L | 50
Fumigants | 1,2-Dibromoethane (EDB) | µg/L | 5
| 1,2-Dichloropropane | µg/L | 5
| 2,2-Dichloropropane | µg/L | 5
| cis-1,3-Dichloropropene | µg/L | 5
| trans-1,3-Dichloropropene | µg/L | 5
Halogenated Aromatic Compounds | Bromobenzene | µg/L | 5
| Chlorobenzene | µg/L | 5
| 2-Chlorotoluene | µg/L | 5
| 4-Chlorotoluene | µg/L | 5
| 1,2-Dichlorobenzene | µg/L | 5 |  | 160
| 1,3-Dichlorobenzene | µg/L | 5 |  | 260
| 1,4-Dichlorobenzene | µg/L | 5 |  | 60
| 1,2,3-Trichlorobenzene | µg/L | 5 |  | 10
| 1,2,4-Trichlorobenzene | µg/L | 5 |  | 170
Halogenated Alphatic Compounds | Dichlorodifluoromethane (Freon 12) | µg/L | 50
| Chloromethane | µg/L | 50
| Vinyl chloride | µg/L | 50
| Bromomethane | µg/L | 50
| Chloroethane | µg/L | 50
| Trichlorofluoromethane (Freon 11) | µg/L | 50
| 1,1-Dichloroethene | µg/L | 5
| Iodomethane | µg/L | 5
| 1,1-Dichloroethane | µg/L | 5
| cis-1,2-Dichloroethene | µg/L | 5
| trans-1,2-Dichloroethene | µg/L | 5
| 1,1,1-Trichloroethane | µg/L | 5
| 1,1-Dichloropropene | µg/L | 5
| Carbon Tetrachloride | µg/L | 5
| 1,2-Dichloroethane | µg/L | 5
| Trichloroethene | µg/L | 5
| Dibromomethane | µg/L | 5
| 1,1,2-Trichloroethane | µg/L | 5 |  | 6800
| 1,3-Dichloropropane | µg/L | 5
| Tetrachloroethene | µg/L | 5
| 1,1,1,2-Tetrachloroethane | µg/L | 5
| trans-1,4-Dichloro-2-butene | µg/L | 5
| cis-1,4-Dichloro-2-butene | µg/L | 5
| 1,1,2,2-Tetrachloroethane | µg/L | 5
| 1,2,3-Trichloropropane | µg/L | 5
| Pentachloroethane | µg/L | 5
| 1,2-Dibromo-3-chloropropane | µg/L | 5
| Hexachlorobutadiene | µg/L | 5
Trihalomethanes | Bromodichloromethane | µg/L | 5
| Bromoform | µg/L | 5
| Chloroform | µg/L | 5
| Dibromochloromethane | µg/L | 5
| Total Organic Carbon | mg/L | 1 |  |  | 13 | 6 | 27 | 64 | 10 | 15 | 18 |  |  | 538
| Electrical conductivity (probe) | µS/cm | 1 |  |  | MP10: 4803
| Electrical conductivity (lab) | µS/cm | 1 |  |  | 1060 | 1330 | 1460 | 1450 | 5860 | 522 | 415
| Biological Oxygen Demand | mg/L | 2 |  |  | MP10: 79
Alkalinity | Bicarbonate Alkalinity as CaCO3 | mg/L | 1 |  |  | 121 | 8 | 497 | 282 | 140 | 108 | 129 |  |  | 3360
| Carbonate Alkalinity as CaCO3 | mg/L | 1 |  |  | <1 | <1 | <1 | <1 | <1 | <1 | <1 |  |  | 135
| Hydroxide Alkalinity as CaCO3 | mg/L | 1 | bar: MP1 to MP7; MP10
| Total Alkalinity as CaCO3 | mg/L | 1 |  |  | 121 | 8 | 497 | 282 | 140 | 108 | 129 |  |  | 3500
| Polychlorinated Biphenyls | µg/L | 1
Oxygentated Compounds | Vinyl acetate | µg/L | 50
| 2-Butanone (MEK) | µg/L | 50
| 2-hexanone (MBK) | µg/L | 50
| 4-Methyl-2-pentanone (MIBK) | µg/L | 50
| Carbon disulfide | µg/L | 5
Organophosphorus Pesticides | Azinphos Methyl | µg/L | 0.5 |  | 0.02
| Bromophos-ethyl | µg/L | 0.5
| Carbophenothion | µg/L | 0.5
| Chlorfenvinphos | µg/L | 0.5
| Chlorpyrifos | µg/L | 0.5 |  | 0.01
| Chlorpyrifos-methyl | µg/L | 0.5
| Demeton-S-methyl | µg/L | 0.5
| Diazinon | µg/L | 0.5 |  | 0.01
| Dichlorvos | µg/L | 0.5
| Dimethoate | µg/L | 0.5 |  | 0.15
| Ethion | µg/L | 0.5
| Fenamiphos | µg/L | 0.5
| Fenthion | µg/L | 0.5
| Malathion | µg/L | 0.5 |  | 0.05
| Monocrotophos | µg/L | 2
| Parathion | µg/L | 2 |  | 0.004
| Parathion-methyl | µg/L | 2
| Pirimphos-ethyl | µg/L | 0.5
| Prothiofos | µg/L | 0.5
Organochlorine Pesticides | Aldrin | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Dieldrin | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Aldrin + Dieldrin | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Alpha-BHC | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Beta-BHC | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Delta-BHC | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Gamma-BHC | µg/L | 0.5 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| cis-Chlordane | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| trans-Chlordane | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Total Chlordane | µg/L | 0.5 |  | 0.08 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| DDD | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| DDE | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| DDT | µg/L | 2 |  | 0.01 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 |  |  | <2.0
| DDT+DDE+DDD | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Alpha-Endosulfan | µg/L | 0.5 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Beta-Endosulfan | µg/L | 0.5 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Beta-BHC | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Endrin | µg/L | 0.5 |  | 0.02 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Endrin aldehyde | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Endrin ketone | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Heptachlor | µg/L | 0.5 |  | 0.09 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Heptachlor epoxide | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Hexachlorobenzene (HCB) | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Methoxychlor | µg/L | 2 |  |  | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 |  |  | <2.0
| Total phenolics | mg/L | 0.05 |  |  | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 |  |  | <0.05

## 2nd Quarter (April)
| LMCC - Awaba Waste Management Facility |  |  |  | Quarterly
Environment Protection License 5873 Quarterly water monitoring results
|  | EPL 5873 I.D. |  |  |  | MP1 | MP2 | MP3 | MP4 | MP5 | MP6 | MP7 | MP8 | MP9 | MP10
| Parameter | Unit | LOR | EPL 5873 | ANZG 2000 freshwater 95% LOP
Standing water level | bar: MP6 to MP10
| Total Dissolved Solids | mg/L | 10
| pH (Lab) | pH units | 0.01
| pH (probe) | pH units | 0.01
| Total Suspended Solids | mg/L | 5 | 50 (MP6 & MP7) | bar: MP1 to MP5
Metals | Reactive Phosphate | mg/kg | 0.01
| Aluminium (Filtered) | mg/L | 0.01 |  | pH>6.5 0.055
| Arsenic (Filtered) | mg/L | 0.001 |  | 0.013
| Barium (Filtered) | mg/L | 0.001
| Cadmium (Filtered) | mg/L | 0.0001 |  | 0.002
| Chromium (Filtered) | mg/L | 0.001
| Chromium (hexavalent) (Filtered) | mg/L | 0.01 |  | 0.01
| Cobalt (Filtered) | mg/L | 0.001
| Copper (Filtered) | mg/L | 0.001 |  | 0.014
| Iron (Filtered) | mg/L | 0.002
| Lead (Filtered) | mg/L | 0.001 |  | 0.034
| Manganese (Filtered) | mg/L | 0.0005 |  | 1.9
| Mercury (Filtered) | mg/L | 0.0001 |  | 0.006
| Zinc (Filtered) | mg/L | 0.005 |  | 0.08
Per- and polyfluorinated alkyl substances | Perfluorooctanoic acid (PFOA) | µg/L | 0.01
| Perfluorooctane sulfonic acid (PFOS) | µg/L | 0.01
| Perfluorohexane sulfonic acid (PFHxS) | µg/L | 0.01
| Sum (PFHxS + PFOS) | µg/L | 0.01
| 4:2 Fluorotelomer sulfonic acid (4:2 FTS) | µg/L | 0.05
| 6:2 Fluorotelomer sulfonic acid (6:2 FTS) | µg/L | 0.05
| 8:2 Fluorotelomer sulfonic acid (8:2 FTS) | µg/L | 0.05
| 10:2 Fluorotelomer sulfonic acid (10:2 FTS) | µg/L | 0.05
| Perfluorobutane sulfonic acid (PFBS) | µg/L | 0.02
| Perfluorobutanoic acid (PFBA) | µg/L | 0.1
| Perfluorodecane sulfonic acid (PFDS) | µg/L | 0.02
| Perfluorodecanoic acid (PFDA) | µg/L | 0.02
| Perfluorododecanoic acid (PFDoDA) | µg/L | 0.02
| Perfluoroheptane sulfonic acid (PFHpS) | µg/L | 0.02
| Perfluoroheptanoic acid (PFHpA) | µg/L | 0.02
| Perfluorohexanoic acid (PFHxA) | µg/L | 0.02
| Perfluorononanoic acid (PFNA) | µg/L | 0.02
| Perfluorooctane sulfonamide (FOSA) | µg/L | 0.02
| Perfluoropentane sulfonic acid (PFPeS) | µg/L | 0.02
| Perfluoropentanoic acid (PFPeA) | µg/L | 0.02
| Perfluorotetradecanoic acid (PFTeDA) | µg/L | 0.05
| Perfluorotridecanoic acid (PFTrDA) | µg/L | 0.02
| Perfluoroundecanoic acid (PFUnDA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamide (EtFOSA) | µg/L | 0.05
| N-Ethyl perfluorooctane sulfonamidoacetic acid (EtFOSAA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamidoethanol (EtFOSE) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamide (MeFOSA) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamidoacetic acid (MeFOSAA) | µg/L | 0.02
| N-Methyl perfluorooctane sulfonamidoethanol (MeFOSE) | µg/L | 0.05
| Sum of PFAS | µg/L | 0.01
Total Petroleum Hydrocarbons | C6-C9 fraction | µg/L | 20
| C10-C14 fraction | µg/L | 50
| C15-C28 fraction | µg/L | 100
| C29-C36 fraction | µg/L | 50
| C10-C36 fraction (sum) | µg/L | 50
Total Recoverable Hydrocarbons | C6-C10 fraction | µg/L | 20
| C6-C10 fraction (minus BTEX)(F1) | µg/L | 20
| >C10-C16 (minus Naphthalene)(F2) | µg/L | 100
| >C10-C16 fraction | µg/L | 100
| >C16-C34 fraction | µg/L | 100
| >C34-C40 fraction | µg/L | 100
| >C10-C40 fraction (sum) | µg/L | 100
Major Ions | Chloride | mg/L | 1
| Calcium (Filtered) | mg/L | 1
| Fluoride | mg/L | 0.1
| Magnesium (Filtered) | mg/L | 1
| Potassium (Filtered) | mg/L | 1
| Sodium (Filtered) | mg/L | 1
| Total Anions | meq/L | 0.01
| Total Cations | meq/L | 0.01
| Sulfate (as SO4-) (Filtered) | mg/L | 1
| Ionic Balance | % | 0.01
Nutrients | Ammonia (as N) | mg/L | 0.01 |  | 0.9
| Nitrate (as N) | mg/L | 0.01 |  | 0.7
| Nitrite (as N) | mg/L | 0.01
| Nitrite + Nitrate as N | mg/L | 0.01
| Total phosphorus | mg/L | 0.01
BTEX | Benzene | µg/L | 5 |  | 950
| Toluene | µg/L | 1
| Ethylbenzene | µg/L | 2
| m&p-Xylene | µg/L | 2
| o-Xylene | µg/L | 2 |  | 350
| Total Xylenes | µg/L | 2
| Total BTEX | µg/L | 2
Monocyclic Aromatic Hydrocarbons | Naphthalene (used F2 calc) | µg/L | 5 |  | 16
| Styrene | µg/L | 5
| Isopropylbenzene | µg/L | 5
| n-butylbenzene | µg/L | 5
| n-propylbenzene | µg/L | 5
| p-isopropyltoluene | µg/L | 5
| sec-butylbenzene | µg/L | 5
| tert-butylbenzene | µg/L | 5
| 1,2,4-trimethylbenzene | µg/L | 5
| 1,3,5-trimethylbenzene | µg/L | 1
Polynuclear Aromatic Hydrocarbons | Benzo(a)pyrene TEQ calc (Zero) | µg/L | 0.5
| Naphthalene | µg/L | 1
| Acenaphthylene | µg/L | 1
| Acenaphthene | µg/L | 1
| Anthracene | µg/L | 1
| Fluorene | µg/L | 1
| Phenanthrene | µg/L | 1
| Fluoranthene | µg/L | 1
| Benz(a)anthracene | µg/L | 1
| Benzo(k)fluoranthene | µg/L | 1
| Benzo(b&j)fluoranthene | µg/L | 1
| Benzo(a)pyrene | µg/L | 0.5
| Chrysene | µg/L | 1
| Pyrene | µg/L | 1
| Benzo(g,h,i)perylene | µg/L | 1
| Dibenz(a,h)anthracene | µg/L | 1
| Indeno(1,2,3-cd)pyrene | µg/L | 1
| Sum of PAHs | µg/L | 0.5
Phenols | 3/4-Methylphenol (m/p-cresol) | µg/L | 2
| Phenol | µg/L | 1 |  | 320
| 2-Chlorophenol | µg/L | 1 |  | 490
| 2-Methylphenol (o-Cresol) | µg/L | 1
| 2-Nitrophenol | µg/L | 1
| 2,4-Dichlorophenol | µg/L | 1
| 2,4-Dimethylphenol | µg/L | 1
| 2,6-Dichlorophenol | µg/L | 1
| 4-Chloro-3-methylphenol | µg/L | 1
| 2,4,6-Trichlorophenol | µg/L | 1 |  | 20
| 2,4,5-Trichlorophenol | µg/L | 1
| Pentachlorophenol | µg/L | 2 |  | 10
| Sum of Phenols | µg/L | 50
Fumigants | 1,2-Dibromoethane (EDB) | µg/L | 5
| 1,2-Dichloropropane | µg/L | 5
| 2,2-Dichloropropane | µg/L | 5
| cis-1,3-Dichloropropene | µg/L | 5
| trans-1,3-Dichloropropene | µg/L | 5
Halogenated Aromatic Compounds | Bromobenzene | µg/L | 5
| Chlorobenzene | µg/L | 5
| 2-Chlorotoluene | µg/L | 5
| 4-Chlorotoluene | µg/L | 5
| 1,2-Dichlorobenzene | µg/L | 5 |  | 160
| 1,3-Dichlorobenzene | µg/L | 5 |  | 260
| 1,4-Dichlorobenzene | µg/L | 5 |  | 60
| 1,2,3-Trichlorobenzene | µg/L | 5 |  | 10
| 1,2,4-Trichlorobenzene | µg/L | 5 |  | 170
Halogenated Alphatic Compounds | Dichlorodifluoromethane (Freon 12) | µg/L | 50
| Chloromethane | µg/L | 50
| Vinyl chloride | µg/L | 50
| Bromomethane | µg/L | 50
| Chloroethane | µg/L | 50
| Trichlorofluoromethane (Freon 11) | µg/L | 50
| 1,1-Dichloroethene | µg/L | 5
| Iodomethane | µg/L | 5
| 1,1-Dichloroethane | µg/L | 5
| cis-1,2-Dichloroethene | µg/L | 5
| trans-1,2-Dichloroethene | µg/L | 5
| 1,1,1-Trichloroethane | µg/L | 5
| 1,1-Dichloropropene | µg/L | 5
| Carbon Tetrachloride | µg/L | 5
| 1,2-Dichloroethane | µg/L | 5
| Trichloroethene | µg/L | 5
| Dibromomethane | µg/L | 5
| 1,1,2-Trichloroethane | µg/L | 5 |  | 6800
| 1,3-Dichloropropane | µg/L | 5
| Tetrachloroethene | µg/L | 5
| 1,1,1,2-Tetrachloroethane | µg/L | 5
| trans-1,4-Dichloro-2-butene | µg/L | 5
| cis-1,4-Dichloro-2-butene | µg/L | 5
| 1,1,2,2-Tetrachloroethane | µg/L | 5
| 1,2,3-Trichloropropane | µg/L | 5
| Pentachloroethane | µg/L | 5
| 1,2-Dibromo-3-chloropropane | µg/L | 5
| Hexachlorobutadiene | µg/L | 5
Trihalomethanes | Bromodichloromethane | µg/L | 5
| Bromoform | µg/L | 5
| Chloroform | µg/L | 5
| Dibromochloromethane | µg/L | 5
| Total Organic Carbon | mg/L | 1
| Electrical conductivity (probe) | µS/cm | 1
| Electrical conductivity (lab) | µS/cm | 1 | bar: MP10
| Biological Oxygen Demand | mg/L | 2
Alkalinity | Bicarbonate Alkalinity as CaCO3 | mg/L | 1
| Hydroxide Alkalinity as CaCO3 | mg/L | 1
| Total Alkalinity as CaCO3 | mg/L | 1
| Polychlorinated Biphenyls | µg/L | 1
Oxygentated Compounds | Vinyl acetate | µg/L | 50
| 2-Butanone (MEK) | µg/L | 50
| 2-hexanone (MBK) | µg/L | 50
| 4-Methyl-2-pentanone (MIBK) | µg/L | 50
| Carbon disulfide | µg/L | 5
Organophosphorus Pesticides | Azinphos Methyl | µg/L | 0.5 |  | 0.02
| Bromophos-ethyl | µg/L | 0.5
| Carbophenothion | µg/L | 0.5
| Chlorfenvinphos | µg/L | 0.5
| Chlorpyrifos | µg/L | 0.5 |  | 0.01
| Chlorpyrifos-methyl | µg/L | 0.5
| Demeton-S-methyl | µg/L | 0.5
| Diazinon | µg/L | 0.5 |  | 0.01
| Dichlorvos | µg/L | 0.5
| Dimethoate | µg/L | 0.5 |  | 0.15
| Ethion | µg/L | 0.5
| Fenamiphos | µg/L | 0.5
| Fenthion | µg/L | 0.5
| Malathion | µg/L | 0.5 |  | 0.05
| Monocrotophos | µg/L | 2
| Parathion | µg/L | 2 |  | 0.004
| Parathion-methyl | µg/L | 2
| Pirimphos-ethyl | µg/L | 0.5
| Prothiofos | µg/L | 0.5
Organochlorine Pesticides | Aldrin | µg/L | 0.01
| Dieldrin | µg/L | 0.01
| Aldrin + Dieldrin | µg/L | 0.01
| a-BHC | µg/L | 0.01
| b-BHC | µg/L | 0.01
| d-BHC | µg/L | 0.01
| g-BHC (Lindane) | µg/L | 0.01 |  | 0.2
| cis-Chlordane | µg/L | 0.01
| trans-Chlordane | µg/L | 0.01
| Chlordane | µg/L | 0.01 |  | 0.08
| DDD | µg/L | 0.01
| DDE | µg/L | 0.01
| DDT | µg/L | 0.01 |  | 0.01
| DDT+DDE+DDD | µg/L | 0.01
| Endosulfan 1 | µg/L | 0.01 |  | 0.2
| Endosulfan 2 | µg/L | 0.01 |  | 0.2
| Endosulfan sulfate | µg/L | 0.01
| Endrin | µg/L | 0.01 |  | 0.02
| Endrin aldehyde | µg/L | 0.01
| Endrin ketone | µg/L | 0.01
| Heptachlor | µg/L | 0.005 |  | 0.09
| Heptachlor epoxide | µg/L | 0.01
| Hexachlorobenzene (HCB) | µg/L | 0.01
| Methoxychlor | µg/L | 0.01
| Total phenolics | mg/L | 0.05

## 3rd Quarter (July)
| LMCC - Awaba Waste Management Facility |  |  |  | Quarterly
Environment Protection License 5873 Quarterly water monitoring results
|  | EPL 5873 I.D. |  |  |  | MP1 | MP2 | MP3 | MP4 | MP5 | MP6 | MP7 | MP8 | MP9 | MP10
| Parameter | Unit | LOR | EPL 5873 | ANZG 2000 freshwater 95% LOP
Standing water level | bar: MP6 to MP10
| Total Dissolved Solids | mg/L | 10
| pH (Lab) | pH units | 0.01
| pH (probe) | pH units | 0.01
| Total Suspended Solids | mg/L | 5 | 50 (MP6 & MP7) | bar: MP1 to MP5
Metals | Reactive Phosphate | mg/kg | 0.01
| Aluminium (Filtered) | mg/L | 0.01 |  | pH>6.5 0.055
| Arsenic (Filtered) | mg/L | 0.001 |  | 0.013
| Barium (Filtered) | mg/L | 0.001
| Cadmium (Filtered) | mg/L | 0.0001 |  | 0.002
| Chromium (Filtered) | mg/L | 0.001
| Chromium (hexavalent) (Filtered) | mg/L | 0.01 |  | 0.01
| Cobalt (Filtered) | mg/L | 0.001
| Copper (Filtered) | mg/L | 0.001 |  | 0.014
| Iron (Filtered) | mg/L | 0.002
| Lead (Filtered) | mg/L | 0.001 |  | 0.034
| Manganese (Filtered) | mg/L | 0.0005 |  | 1.9
| Mercury (Filtered) | mg/L | 0.0001 |  | 0.006
| Zinc (Filtered) | mg/L | 0.005 |  | 0.08
Per- and polyfluorinated alkyl substances | Perfluorooctanoic acid (PFOA) | µg/L | 0.01
| Perfluorooctane sulfonic acid (PFOS) | µg/L | 0.01
| Perfluorohexane sulfonic acid (PFHxS) | µg/L | 0.01
| Sum (PFHxS + PFOS) | µg/L | 0.01
| 4:2 Fluorotelomer sulfonic acid (4:2 FTS) | µg/L | 0.05
| 6:2 Fluorotelomer sulfonic acid (6:2 FTS) | µg/L | 0.05
| 8:2 Fluorotelomer sulfonic acid (8:2 FTS) | µg/L | 0.05
| 10:2 Fluorotelomer sulfonic acid (10:2 FTS) | µg/L | 0.05
| Perfluorobutane sulfonic acid (PFBS) | µg/L | 0.02
| Perfluorobutanoic acid (PFBA) | µg/L | 0.1
| Perfluorodecane sulfonic acid (PFDS) | µg/L | 0.02
| Perfluorodecanoic acid (PFDA) | µg/L | 0.02
| Perfluorododecanoic acid (PFDoDA) | µg/L | 0.02
| Perfluoroheptane sulfonic acid (PFHpS) | µg/L | 0.02
| Perfluoroheptanoic acid (PFHpA) | µg/L | 0.02
| Perfluorohexanoic acid (PFHxA) | µg/L | 0.02
| Perfluorononanoic acid (PFNA) | µg/L | 0.02
| Perfluorooctane sulfonamide (FOSA) | µg/L | 0.02
| Perfluoropentane sulfonic acid (PFPeS) | µg/L | 0.02
| Perfluoropentanoic acid (PFPeA) | µg/L | 0.02
| Perfluorotetradecanoic acid (PFTeDA) | µg/L | 0.05
| Perfluorotridecanoic acid (PFTrDA) | µg/L | 0.02
| Perfluoroundecanoic acid (PFUnDA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamide (EtFOSA) | µg/L | 0.05
| N-Ethyl perfluorooctane sulfonamidoacetic acid (EtFOSAA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamidoethanol (EtFOSE) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamide (MeFOSA) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamidoacetic acid (MeFOSAA) | µg/L | 0.02
| N-Methyl perfluorooctane sulfonamidoethanol (MeFOSE) | µg/L | 0.05
| Sum of PFAS | µg/L | 0.01
Total Petroleum Hydrocarbons | C6-C9 fraction | µg/L | 20
| C10-C14 fraction | µg/L | 50
| C15-C28 fraction | µg/L | 100
| C29-C36 fraction | µg/L | 50
| C10-C36 fraction (sum) | µg/L | 50
Total Recoverable Hydrocarbons | C6-C10 fraction | µg/L | 20
| C6-C10 fraction (minus BTEX)(F1) | µg/L | 20
| >C10-C16 (minus Naphthalene)(F2) | µg/L | 100
| >C10-C16 fraction | µg/L | 100
| >C16-C34 fraction | µg/L | 100
| >C34-C40 fraction | µg/L | 100
| >C10-C40 fraction (sum) | µg/L | 100
Major Ions | Chloride | mg/L | 1
| Calcium (Filtered) | mg/L | 1
| Fluoride | mg/L | 0.1
| Magnesium (Filtered) | mg/L | 1
| Potassium (Filtered) | mg/L | 1
| Sodium (Filtered) | mg/L | 1
| Total Anions | meq/L | 0.01
| Total Cations | meq/L | 0.01
| Sulfate (as SO4-) (Filtered) | mg/L | 1
| Ionic Balance | % | 0.01
Nutrients | Ammonia (as N) | mg/L | 0.01 |  | 0.9
| Nitrate (as N) | mg/L | 0.01 |  | 0.7
| Nitrite (as N) | mg/L | 0.01
| Nitrite + Nitrate as N | mg/L | 0.01
| Total phosphorus | mg/L | 0.01
BTEX | Benzene | µg/L | 5 |  | 950
| Toluene | µg/L | 1
| Ethylbenzene | µg/L | 2
| m&p-Xylene | µg/L | 2
| o-Xylene | µg/L | 2 |  | 350
| Total Xylenes | µg/L | 2
| Total BTEX | µg/L | 2
Monocyclic Aromatic Hydrocarbons | Naphthalene (used F2 calc) | µg/L | 5 |  | 16
| Styrene | µg/L | 5
| Isopropylbenzene | µg/L | 5
| n-butylbenzene | µg/L | 5
| n-propylbenzene | µg/L | 5
| p-isopropyltoluene | µg/L | 5
| sec-butylbenzene | µg/L | 5
| tert-butylbenzene | µg/L | 5
| 1,2,4-trimethylbenzene | µg/L | 5
| 1,3,5-trimethylbenzene | µg/L | 1
Polynuclear Aromatic Hydrocarbons | Benzo(a)pyrene TEQ calc (Zero) | µg/L | 0.5
| Naphthalene | µg/L | 1
| Acenaphthylene | µg/L | 1
| Acenaphthene | µg/L | 1
| Anthracene | µg/L | 1
| Fluorene | µg/L | 1
| Phenanthrene | µg/L | 1
| Fluoranthene | µg/L | 1
| Benz(a)anthracene | µg/L | 1
| Benzo(k)fluoranthene | µg/L | 1
| Benzo(b&j)fluoranthene | µg/L | 1
| Benzo(a)pyrene | µg/L | 0.5
| Chrysene | µg/L | 1
| Pyrene | µg/L | 1
| Benzo(g,h,i)perylene | µg/L | 1
| Dibenz(a,h)anthracene | µg/L | 1
| Indeno(1,2,3-cd)pyrene | µg/L | 1
| Sum of PAHs | µg/L | 0.5
Phenols | 3/4-Methylphenol (m/p-cresol) | µg/L | 2
| Phenol | µg/L | 1 |  | 320
| 2-Chlorophenol | µg/L | 1 |  | 490
| 2-Methylphenol (o-Cresol) | µg/L | 1
| 2-Nitrophenol | µg/L | 1
| 2,4-Dichlorophenol | µg/L | 1
| 2,4-Dimethylphenol | µg/L | 1
| 2,6-Dichlorophenol | µg/L | 1
| 4-Chloro-3-methylphenol | µg/L | 1
| 2,4,6-Trichlorophenol | µg/L | 1 |  | 20
| 2,4,5-Trichlorophenol | µg/L | 1
| Pentachlorophenol | µg/L | 2 |  | 10
| Sum of Phenols | µg/L | 50
Fumigants | 1,2-Dibromoethane (EDB) | µg/L | 5
| 1,2-Dichloropropane | µg/L | 5
| 2,2-Dichloropropane | µg/L | 5
| cis-1,3-Dichloropropene | µg/L | 5
| trans-1,3-Dichloropropene | µg/L | 5
Halogenated Aromatic Compounds | Bromobenzene | µg/L | 5
| Chlorobenzene | µg/L | 5
| 2-Chlorotoluene | µg/L | 5
| 4-Chlorotoluene | µg/L | 5
| 1,2-Dichlorobenzene | µg/L | 5 |  | 160
| 1,3-Dichlorobenzene | µg/L | 5 |  | 260
| 1,4-Dichlorobenzene | µg/L | 5 |  | 60
| 1,2,3-Trichlorobenzene | µg/L | 5 |  | 10
| 1,2,4-Trichlorobenzene | µg/L | 5 |  | 170
Halogenated Alphatic Compounds | Dichlorodifluoromethane (Freon 12) | µg/L | 50
| Chloromethane | µg/L | 50
| Vinyl chloride | µg/L | 50
| Bromomethane | µg/L | 50
| Chloroethane | µg/L | 50
| Trichlorofluoromethane (Freon 11) | µg/L | 50
| 1,1-Dichloroethene | µg/L | 5
| Iodomethane | µg/L | 5
| 1,1-Dichloroethane | µg/L | 5
| cis-1,2-Dichloroethene | µg/L | 5
| trans-1,2-Dichloroethene | µg/L | 5
| 1,1,1-Trichloroethane | µg/L | 5
| 1,1-Dichloropropene | µg/L | 5
| Carbon Tetrachloride | µg/L | 5
| 1,2-Dichloroethane | µg/L | 5
| Trichloroethene | µg/L | 5
| Dibromomethane | µg/L | 5
| 1,1,2-Trichloroethane | µg/L | 5 |  | 6800
| 1,3-Dichloropropane | µg/L | 5
| Tetrachloroethene | µg/L | 5
| 1,1,1,2-Tetrachloroethane | µg/L | 5
| trans-1,4-Dichloro-2-butene | µg/L | 5
| cis-1,4-Dichloro-2-butene | µg/L | 5
| 1,1,2,2-Tetrachloroethane | µg/L | 5
| 1,2,3-Trichloropropane | µg/L | 5
| Pentachloroethane | µg/L | 5
| 1,2-Dibromo-3-chloropropane | µg/L | 5
| Hexachlorobutadiene | µg/L | 5
Trihalomethanes | Bromodichloromethane | µg/L | 5
| Bromoform | µg/L | 5
| Chloroform | µg/L | 5
| Dibromochloromethane | µg/L | 5
| Total Organic Carbon | mg/L | 1
| Electrical conductivity (probe) | µS/cm | 1
| Electrical conductivity (lab) | µS/cm | 1 | bar: MP10
| Biological Oxygen Demand | mg/L | 2
Alkalinity | Bicarbonate Alkalinity as CaCO3 | mg/L | 1
| Hydroxide Alkalinity as CaCO3 | mg/L | 1
| Total Alkalinity as CaCO3 | mg/L | 1
| Polychlorinated Biphenyls | µg/L | 1
Oxygentated Compounds | Vinyl acetate | µg/L | 50
| 2-Butanone (MEK) | µg/L | 50
| 2-hexanone (MBK) | µg/L | 50
| 4-Methyl-2-pentanone (MIBK) | µg/L | 50
| Carbon disulfide | µg/L | 5
Organophosphorus Pesticides | Azinphos Methyl | µg/L | 0.5 |  | 0.02
| Bromophos-ethyl | µg/L | 0.5
| Carbophenothion | µg/L | 0.5
| Chlorfenvinphos | µg/L | 0.5
| Chlorpyrifos | µg/L | 0.5 |  | 0.01
| Chlorpyrifos-methyl | µg/L | 0.5
| Demeton-S-methyl | µg/L | 0.5
| Diazinon | µg/L | 0.5 |  | 0.01
| Dichlorvos | µg/L | 0.5
| Dimethoate | µg/L | 0.5 |  | 0.15
| Ethion | µg/L | 0.5
| Fenamiphos | µg/L | 0.5
| Fenthion | µg/L | 0.5
| Malathion | µg/L | 0.5 |  | 0.05
| Monocrotophos | µg/L | 2
| Parathion | µg/L | 2 |  | 0.004
| Parathion-methyl | µg/L | 2
| Pirimphos-ethyl | µg/L | 0.5
| Prothiofos | µg/L | 0.5
Organochlorine Pesticides | Aldrin | µg/L | 0.01
| Dieldrin | µg/L | 0.01
| Aldrin + Dieldrin | µg/L | 0.01
| a-BHC | µg/L | 0.01
| b-BHC | µg/L | 0.01
| d-BHC | µg/L | 0.01
| g-BHC (Lindane) | µg/L | 0.01 |  | 0.2
| cis-Chlordane | µg/L | 0.01
| trans-Chlordane | µg/L | 0.01
| Chlordane | µg/L | 0.01 |  | 0.08
| DDD | µg/L | 0.01
| DDE | µg/L | 0.01
| DDT | µg/L | 0.01 |  | 0.01
| DDT+DDE+DDD | µg/L | 0.01
| Endosulfan 1 | µg/L | 0.01 |  | 0.2
| Endosulfan 2 | µg/L | 0.01 |  | 0.2
| Endosulfan sulfate | µg/L | 0.01
| Endrin | µg/L | 0.01 |  | 0.02
| Endrin aldehyde | µg/L | 0.01
| Endrin ketone | µg/L | 0.01
| Heptachlor | µg/L | 0.005 |  | 0.09
| Heptachlor epoxide | µg/L | 0.01
| Hexachlorobenzene (HCB) | µg/L | 0.01
| Methoxychlor | µg/L | 0.01
| Total phenolics | mg/L | 0.05

## Annual (end September)
| LMCC - Awaba Waste Management Facility |  |  |  | Quarterly | Annual
Environment Protection License 5873 Quarterly water monitoring results
|  | EPL 5873 I.D. |  |  |  | MP1 | MP2 | MP3 | MP4 | MP5 | MP6 | MP7 | MP8 | MP9 | MP10
| Parameter | Unit | LOR | EPL 5873 | ANZG 2000 freshwater 95% LOP
Standing water level
| Total Dissolved Solids | mg/L | 10 | bar: MP10
| pH (Lab) | pH units | 0.01
| pH (probe) | pH units | 0.01
| Total Suspended Solids | mg/L | 5 | 50 (MP6 & MP7) | bar: MP1 to MP5
Metals | Reactive Phosphate | mg/kg | 0.01
| Aluminium (Filtered) | mg/L | 0.01 | pH>6.5 0.055 | bar: MP9
| Arsenic (Filtered) | mg/L | 0.001 | 0.013 | bar: MP9
| Barium (Filtered) | mg/L | 0.001 | bar: MP9
| Cadmium (Filtered) | mg/L | 0.0001 | 0.002
| Chromium (Filtered) | mg/L | 0.001
| Chromium (hexavalent) (Filtered) | mg/L | 0.01 | 0.01
| Cobalt (Filtered) | mg/L | 0.001
| Copper (Filtered) | mg/L | 0.001 | 0.014
| Iron (Filtered) | mg/L | 0.002
| Lead (Filtered) | mg/L | 0.001 | 0.034
| Manganese (Filtered) | mg/L | 0.0005 |  | 1.9
| Mercury (Filtered) | mg/L | 0.0001 | 0.006
| Zinc (Filtered) | mg/L | 0.005 |  | 0.08
Per- and polyfluorinated alkyl substances | Perfluorooctanoic acid (PFOA) | µg/L | 0.01
| Perfluorooctane sulfonic acid (PFOS) | µg/L | 0.01
| Perfluorohexane sulfonic acid (PFHxS) | µg/L | 0.01
| Sum (PFHxS + PFOS) | µg/L | 0.01
| 4:2 Fluorotelomer sulfonic acid (4:2 FTS) | µg/L | 0.05
| 6:2 Fluorotelomer sulfonic acid (6:2 FTS) | µg/L | 0.05
| 8:2 Fluorotelomer sulfonic acid (8:2 FTS) | µg/L | 0.05
| 10:2 Fluorotelomer sulfonic acid (10:2 FTS) | µg/L | 0.05
| Perfluorobutane sulfonic acid (PFBS) | µg/L | 0.02
| Perfluorobutanoic acid (PFBA) | µg/L | 0.1
| Perfluorodecane sulfonic acid (PFDS) | µg/L | 0.02
| Perfluorodecanoic acid (PFDA) | µg/L | 0.02
| Perfluorododecanoic acid (PFDoDA) | µg/L | 0.02
| Perfluoroheptane sulfonic acid (PFHpS) | µg/L | 0.02
| Perfluoroheptanoic acid (PFHpA) | µg/L | 0.02
| Perfluorohexanoic acid (PFHxA) | µg/L | 0.02
| Perfluorononanoic acid (PFNA) | µg/L | 0.02
| Perfluorooctane sulfonamide (FOSA) | µg/L | 0.02
| Perfluoropentane sulfonic acid (PFPeS) | µg/L | 0.02
| Perfluoropentanoic acid (PFPeA) | µg/L | 0.02
| Perfluorotetradecanoic acid (PFTeDA) | µg/L | 0.05
| Perfluorotridecanoic acid (PFTrDA) | µg/L | 0.02
| Perfluoroundecanoic acid (PFUnDA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamide (EtFOSA) | µg/L | 0.05
| N-Ethyl perfluorooctane sulfonamidoacetic acid (EtFOSAA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamidoethanol (EtFOSE) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamide (MeFOSA) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamidoacetic acid (MeFOSAA) | µg/L | 0.02
| N-Methyl perfluorooctane sulfonamidoethanol (MeFOSE) | µg/L | 0.05
| Sum of PFAS | µg/L | 0.01
Total Petroleum Hydrocarbons | C6-C9 fraction | µg/L | 20 | bar: MP9
| C10-C14 fraction | µg/L | 50 | bar: MP9
| C15-C28 fraction | µg/L | 100 | bar: MP9
| C29-C36 fraction | µg/L | 50 | bar: MP9
| C10-C36 fraction (sum) | µg/L | 50 | bar: MP9
Total Recoverable Hydrocarbons | C6-C10 fraction | µg/L | 20
| C6-C10 fraction (minus BTEX)(F1) | µg/L | 20
| >C10-C16 (minus Naphthalene)(F2) | µg/L | 100
| >C10-C16 fraction | µg/L | 100
| >C16-C34 fraction | µg/L | 100
| >C34-C40 fraction | µg/L | 100
| >C10-C40 fraction (sum) | µg/L | 100
Major Ions | Chloride | mg/L | 1
| Calcium (Filtered) | mg/L | 1
| Fluoride | mg/L | 0.1
| Magnesium (Filtered) | mg/L | 1
| Potassium (Filtered) | mg/L | 1
| Sodium (Filtered) | mg/L | 1
| Total Anions | meq/L | 0.01
| Total Cations | meq/L | 0.01
| Sulfate (as SO4-) (Filtered) | mg/L | 1
| Ionic Balance | % | 0.01
Nutrients | Ammonia (as N) | mg/L | 0.01 |  | 0.9
| Nitrate (as N) | mg/L | 0.01 |  | 0.7
| Nitrite (as N) | mg/L | 0.01
| Nitrite + Nitrate as N | mg/L | 0.01
| Total phosphorus | mg/L | 0.01
BTEX | Benzene | µg/L | 5 | 950
| Toluene | µg/L | 1
| Ethylbenzene | µg/L | 2
| m&p-Xylene | µg/L | 2
| o-Xylene | µg/L | 2 |  | 350
| Total Xylenes | µg/L | 2
| Total BTEX | µg/L | 2
Monocyclic Aromatic Hydrocarbons | Naphthalene (used F2 calc) | µg/L | 5 |  | 16
| Styrene | µg/L | 5
| Isopropylbenzene | µg/L | 5
| n-butylbenzene | µg/L | 5
| n-propylbenzene | µg/L | 5
| p-isopropyltoluene | µg/L | 5
| sec-butylbenzene | µg/L | 5
| tert-butylbenzene | µg/L | 5
| 1,2,4-trimethylbenzene | µg/L | 5
| 1,3,5-trimethylbenzene | µg/L | 1
Polynuclear Aromatic Hydrocarbons | Benzo(a)pyrene TEQ calc (Zero) | µg/L | 0.5
| Naphthalene | µg/L | 1
| Acenaphthylene | µg/L | 1
| Acenaphthene | µg/L | 1
| Anthracene | µg/L | 1
| Fluorene | µg/L | 1
| Phenanthrene | µg/L | 1
| Fluoranthene | µg/L | 1
| Benz(a)anthracene | µg/L | 1
| Benzo(k)fluoranthene | µg/L | 1
| Benzo(b&j)fluoranthene | µg/L | 1
| Benzo(a)pyrene | µg/L | 0.5
| Chrysene | µg/L | 1
| Pyrene | µg/L | 1
| Benzo(g,h,i)perylene | µg/L | 1
| Dibenz(a,h)anthracene | µg/L | 1
| Indeno(1,2,3-cd)pyrene | µg/L | 1
| Sum of PAHs | µg/L | 0.5
Phenols | 3/4-Methylphenol (m/p-cresol) | µg/L | 2
| Phenol | µg/L | 1 |  | 320
| 2-Chlorophenol | µg/L | 1 |  | 490
| 2-Methylphenol (o-Cresol) | µg/L | 1
| 2-Nitrophenol | µg/L | 1
| 2,4-Dichlorophenol | µg/L | 1
| 2,4-Dimethylphenol | µg/L | 1
| 2,6-Dichlorophenol | µg/L | 1
| 4-Chloro-3-methylphenol | µg/L | 1
| 2,4,6-Trichlorophenol | µg/L | 1 |  | 20
| 2,4,5-Trichlorophenol | µg/L | 1
| Pentachlorophenol | µg/L | 2 |  | 10
| Sum of Phenols | µg/L | 50
Fumigants | 1,2-Dibromoethane (EDB) | µg/L | 5
| 1,2-Dichloropropane | µg/L | 5
| 2,2-Dichloropropane | µg/L | 5
| cis-1,3-Dichloropropene | µg/L | 5
| trans-1,3-Dichloropropene | µg/L | 5
Halogenated Aromatic Compounds | Bromobenzene | µg/L | 5
| Chlorobenzene | µg/L | 5
| 2-Chlorotoluene | µg/L | 5
| 4-Chlorotoluene | µg/L | 5
| 1,2-Dichlorobenzene | µg/L | 5 |  | 160
| 1,3-Dichlorobenzene | µg/L | 5 |  | 260
| 1,4-Dichlorobenzene | µg/L | 5 |  | 60
| 1,2,3-Trichlorobenzene | µg/L | 5 |  | 10
| 1,2,4-Trichlorobenzene | µg/L | 5 |  | 170
Halogenated Alphatic Compounds | Dichlorodifluoromethane (Freon 12) | µg/L | 50
| Chloromethane | µg/L | 50
| Vinyl chloride | µg/L | 50
| Bromomethane | µg/L | 50
| Chloroethane | µg/L | 50
| Trichlorofluoromethane (Freon 11) | µg/L | 50
| 1,1-Dichloroethene | µg/L | 5
| Iodomethane | µg/L | 5
| 1,1-Dichloroethane | µg/L | 5
| cis-1,2-Dichloroethene | µg/L | 5
| trans-1,2-Dichloroethene | µg/L | 5
| 1,1,1-Trichloroethane | µg/L | 5
| 1,1-Dichloropropene | µg/L | 5
| Carbon Tetrachloride | µg/L | 5
| 1,2-Dichloroethane | µg/L | 5
| Trichloroethene | µg/L | 5
| Dibromomethane | µg/L | 5
| 1,1,2-Trichloroethane | µg/L | 5 |  | 6800
| 1,3-Dichloropropane | µg/L | 5
| Tetrachloroethene | µg/L | 5
| 1,1,1,2-Tetrachloroethane | µg/L | 5
| trans-1,4-Dichloro-2-butene | µg/L | 5
| cis-1,4-Dichloro-2-butene | µg/L | 5
| 1,1,2,2-Tetrachloroethane | µg/L | 5
| 1,2,3-Trichloropropane | µg/L | 5
| Pentachloroethane | µg/L | 5
| 1,2-Dibromo-3-chloropropane | µg/L | 5
| Hexachlorobutadiene | µg/L | 5
Trihalomethanes | Bromodichloromethane | µg/L | 5
| Bromoform | µg/L | 5
| Chloroform | µg/L | 5
| Dibromochloromethane | µg/L | 5
| Total Organic Carbon | mg/L | 1
| Electrical conductivity (probe) | µS/cm | 1
| Electrical conductivity (lab) | µS/cm | 1
| Biological Oxygen Demand | mg/L | 2
Alkalinity | Bicarbonate Alkalinity as CaCO3 | mg/L | 1
| Hydroxide Alkalinity as CaCO3 | mg/L | 1
| Total Alkalinity as CaCO3 | mg/L | 1
| Polychlorinated Biphenyls | µg/L | 1
Oxygentated Compounds | Vinyl acetate | µg/L | 50
| 2-Butanone (MEK) | µg/L | 50
| 2-hexanone (MBK) | µg/L | 50
| 4-Methyl-2-pentanone (MIBK) | µg/L | 50
| Carbon disulfide | µg/L | 5
Organophosphorus Pesticides | Azinphos Methyl | µg/L | 0.5 | 0.02
| Bromophos-ethyl | µg/L | 0.5
| Carbophenothion | µg/L | 0.5
| Chlorfenvinphos | µg/L | 0.5
| Chlorpyrifos | µg/L | 0.5 | 0.01
| Chlorpyrifos-methyl | µg/L | 0.5
| Demeton-S-methyl | µg/L | 0.5
| Diazinon | µg/L | 0.5 | 0.01
| Dichlorvos | µg/L | 0.5
| Dimethoate | µg/L | 0.5 | 0.15
| Ethion | µg/L | 0.5
| Fenamiphos | µg/L | 0.5
| Fenthion | µg/L | 0.5
| Malathion | µg/L | 0.5 | 0.05
| Monocrotophos | µg/L | 2
| Parathion | µg/L | 2 | 0.004
| Parathion-methyl | µg/L | 2
| Pirimphos-ethyl | µg/L | 0.5
| Prothiofos | µg/L | 0.5
Organochlorine Pesticides | Aldrin | µg/L | 0.01
| Dieldrin | µg/L | 0.01
| Aldrin + Dieldrin | µg/L | 0.01
| a-BHC | µg/L | 0.01
| b-BHC | µg/L | 0.01
| d-BHC | µg/L | 0.01
| g-BHC (Lindane) | µg/L | 0.01 |  | 0.2
| cis-Chlordane | µg/L | 0.01
| trans-Chlordane | µg/L | 0.01
| Chlordane | µg/L | 0.01 |  | 0.08
| DDD | µg/L | 0.01
| DDE | µg/L | 0.01
| DDT | µg/L | 0.01 |  | 0.01
| DDT+DDE+DDD | µg/L | 0.01
| Endosulfan 1 | µg/L | 0.01 |  | 0.2
| Endosulfan 2 | µg/L | 0.01 |  | 0.2
| Endosulfan sulfate | µg/L | 0.01
| Endrin | µg/L | 0.01 |  | 0.02
| Endrin aldehyde | µg/L | 0.01
| Endrin ketone | µg/L | 0.01
| Heptachlor | µg/L | 0.005 |  | 0.09
| Heptachlor epoxide | µg/L | 0.01
| Hexachlorobenzene (HCB) | µg/L | 0.01
| Methoxychlor | µg/L | 0.01
| Total phenolics | mg/L | 0.05