## 1st Quarter (January)
| LMCC - Awaba Waste Management Facility |  |  |  | Quarterly
Environment Protection License 5873 Quarterly water monitoring results
|  | EPL 5873 I.D. |  |  |  | MP1 | MP2 | MP3 | MP4 | MP5 | MP6 | MP7 | MP8 | MP9 | MP10
| Parameter | Unit | LOR | EPL 5873 | ANZG 2000 freshwater 95% LOP | MP8: No available Data; MP9: No available Data
| Standing water level (m) |  |  |  |  | MP1: 9.41; MP2: 3.58; MP3: 2.96; MP4: 3.9; MP5: 1.15
| Total Dissolved Solids | mg/L | 10
| pH (Lab) | pH units | 0.01 |  |  | 6.08 | 5.2 | 6.92 | 6.4 | 6.05 | 8.16 | 8.1
| pH (probe) | pH units | 0.01 |  |  | MP10: 8.28
| Total Suspended Solids | mg/L | 5 | 50 (MP6 & MP7) |  | MP6: 21; MP7: 22; MP10: 143
Metals | Reactive Phosphate | mg/kg | 0.01
| Aluminium (Filtered) | mg/L | 0.01 |  | pH>6.5 0.055
| Arsenic (Filtered) | mg/L | 0.001 |  | 0.013
| Barium (Filtered) | mg/L | 0.001
| Cadmium (Filtered) | mg/L | 0.0001 |  | 0.002
| Chromium (Filtered) | mg/L | 0.001 |  | 0.033
| Chromium (hexavalent) (Filtered) | mg/L | 0.01 |  | 0.01
| Cobalt (Filtered) | mg/L | 0.001 |  | 0.014
| Copper (Filtered) | mg/L | 0.001 |  | 0.014
| Iron (Filtered) | µg/L | 2 |  |  | 449 | 134 | 78 | 32400 | 2640 | 70 | 66 |  |  | 6600
| Lead (Filtered) | mg/L | 0.001 |  | 0.034
| Manganese (Filtered) | µg/L | 0.5 |  | 1.9 | 1210 | 65.5 | 548 | 846 | 683 | 13.9 | 1.1 |  |  | 669
| Mercury (Filtered) | mg/L | 0.0001 |  | 0.006
| Zinc (Filtered) | mg/L | 0.005 |  | 0.01
Per- and polyfluorinated alkyl substances | Perfluorooctanoic acid (PFOA) | µg/L | 0.01 |  | 0.08
| Perfluorooctane sulfonic acid (PFOS) | µg/L | 0.01
| Perfluorohexane sulfonic acid (PFHxS) | µg/L | 0.01
| Sum (PFHxS + PFOS) | µg/L | 0.01
| 4:2 Fluorotelomer sulfonic acid (4:2 FTS) | µg/L | 0.05
| 6:2 Fluorotelomer sulfonic acid (6:2 FTS) | µg/L | 0.05
| 8:2 Fluorotelomer sulfonic acid (8:2 FTS) | µg/L | 0.05
| 10:2 Fluorotelomer sulfonic acid (10:2 FTS) | µg/L | 0.05
| Perfluorobutane sulfonic acid (PFBS) | µg/L | 0.02
| Perfluorobutanoic acid (PFBA) | µg/L | 0.1
| Perfluorodecane sulfonic acid (PFDS) | µg/L | 0.02
| Perfluorodecanoic acid (PFDA) | µg/L | 0.02
| Perfluorododecanoic acid (PFDoDA) | µg/L | 0.02
| Perfluoroheptane sulfonic acid (PFHpS) | µg/L | 0.02
| Perfluoroheptanoic acid (PFHpA) | µg/L | 0.02
| Perfluorohexanoic acid (PFHxA) | µg/L | 0.02
| Perfluorononanoic acid (PFNA) | µg/L | 0.02
| Perfluorooctane sulfonamide (FOSA) | µg/L | 0.02
| Perfluoropentane sulfonic acid (PFPeS) | µg/L | 0.02
| Perfluoropentanoic acid (PFPeA) | µg/L | 0.02
| Perfluorotetradecanoic acid (PFTeDA) | µg/L | 0.05
| Perfluorotridecanoic acid (PFTrDA) | µg/L | 0.02
| Perfluoroundecanoic acid (PFUnDA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamide (EtFOSA) | µg/L | 0.05
| N-Ethyl perfluorooctane sulfonamidoacetic acid (EtFOSAA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamidoethanol (EtFOSE) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamide (MeFOSA) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamidoacetic acid (MeFOSAA) | µg/L | 0.02
| N-Methyl perfluorooctane sulfonamidoethanol (MeFOSE) | µg/L | 0.05
| Sum of PFAS | µg/L | 0.01
Total Petroleum Hydrocarbons | C6-C10 fraction | µg/L | 20 |  |  | MP10: <20
| C10-C16 fraction | µg/L | 100 |  |  | MP10: 130
| C16-C34 fraction | µg/L | 100 |  |  | MP10: 480
| C34-C40 fraction | µg/L | 100 |  |  | MP10: <100
| C10-C36 fraction (sum) | µg/L | 100 |  |  | MP10: 610
Total Recoverable Hydrocarbons | C6-C10 fraction | µg/L | 20
| C6-C10 fraction (minus BTEX)(F1) | µg/L | 20
| >C10-C16 (minus Naphthalene)(F2) | µg/L | 100
| >C10-C16 fraction | µg/L | 100
| >C16-C34 fraction | µg/L | 100
| >C34-C40 fraction | µg/L | 100
| >C10-C40 fraction (sum) | µg/L | 100
Major Ions | Chloride | mg/L | 1 |  |  | 261 | 348 | 209 | 342 | 1840 | 62 | 44 |  |  | 1580
| Calcium (Filtered) | mg/L | 1 |  |  | 21 | 2 | 80 | 54 | 24 | 29 | 28 |  |  | 127
| Fluoride | mg/L | 0.1 |  |  | 0.3 | 0.4 | 0.4 | 0.2 | 0.7 | 0.3 | 0.4 |  |  | 0.6
| Magnesium (Filtered) | mg/L | 1 |  |  | 33 | 14 | 32 | 38 | 109 | 12 | 9 |  |  | 82
| Potassium (Filtered) | mg/L | 1 |  |  | 8 | 5 | 36 | 18 | 19 | 19 | 14 |  |  | 522
| Sodium (Filtered) | mg/L | 1 |  |  | 150 | 255 | 173 | 186 | 1120 | 44 | 36 |  |  | 1300
| Total Anions | meq/L | 0.01
| Total Cations | meq/L | 0.01
| Sulfate (as SO4-) (Filtered) | mg/L | 1 |  |  | 40 | 113 | 9 | <1 | 258 | 40 | 13 |  |  | <50
| Ionic Balance | % | 0.01
Nutrients | Ammonia (as N) | mg/L | 0.01 |  |  | <0.10 | 0.08 | 7.89 | 6.7 | 0.28 | 0.12 | 0.25 |  |  | 401
| Nitrate (as N) | mg/L | 0.01 |  | 0.9 | <0.10 | 0.04 | <0.01 | <0.10 | <0.01 | <0.01 | <0.01 |  |  | <0.10
| Nitrite (as N) | mg/L | 0.01
| Nitrite + Nitrate as N | mg/L | 0.01
| Total phosphorus | mg/L | 0.01
BTEX | Benzene | µg/L | 5
| Toluene | µg/L | 1
| Ethylbenzene | µg/L | 2 |  | 950
| m&p-Xylene | µg/L | 2 |  | 180
| o-Xylene | µg/L | 2 |  | 80
| Total Xylenes | µg/L | 2 |  | 180
| Total BTEX | µg/L | 2 |  | 350
Monocyclic Aromatic Hydrocarbons | Naphthalene (used F2 calc) | µg/L | 5
| Styrene | µg/L | 5
| Isopropylbenzene | µg/L | 5 |  | 16
| n-butylbenzene | µg/L | 5
| n-propylbenzene | µg/L | 5 |  | 30
| p-isopropyltoluene | µg/L | 5
| sec-butylbenzene | µg/L | 5
| tert-butylbenzene | µg/L | 5
| 1,2,4-trimethylbenzene | µg/L | 5
| 1,3,5-trimethylbenzene | µg/L | 1
Polynuclear Aromatic Hydrocarbons | Benzo(a)pyrene TEQ calc (Zero) | µg/L | 0.5
| Naphthalene | µg/L | 1
| Acenaphthylene | µg/L | 1 |  | 0.2
| Acenaphthene | µg/L | 1
| Anthracene | µg/L | 1
| Fluorene | µg/L | 1
| Phenanthrene | µg/L | 1 |  | 0.4
| Fluoranthene | µg/L | 1
| Benz(a)anthracene | µg/L | 1
| Benzo(k)fluoranthene | µg/L | 1 |  | 1.4
| Benzo(b&j)fluoranthene | µg/L | 1
| Benzo(a)pyrene | µg/L | 0.5
| Chrysene | µg/L | 1
| Pyrene | µg/L | 1
| Benzo(g,h,i)perylene | µg/L | 1
| Dibenz(a,h)anthracene | µg/L | 1
| Indeno(1,2,3-cd)pyrene | µg/L | 1
| Sum of PAHs | µg/L | 0.5
Phenols | 3/4-Methylphenol (m/p-cresol) | µg/L | 2
| Phenol | µg/L | 1
| 2-Chlorophenol | µg/L | 1
| 2-Methylphenol (o-Cresol) | µg/L | 1 |  | 320
| 2-Nitrophenol | µg/L | 1 |  | 490
| 2,4-Dichlorophenol | µg/L | 1
| 2,4-Dimethylphenol | µg/L | 1
| 2,6-Dichlorophenol | µg/L | 1
| 4-Chloro-3-methylphenol | µg/L | 1
| 2,4,6-Trichlorophenol | µg/L | 1
| 2,4,5-Trichlorophenol | µg/L | 1
| Pentachlorophenol | µg/L | 2 |  | 20
| Sum of Phenols | µg/L | 50
Fumigants | 1,2-Dibromoethane (EDB) | µg/L | 5 |  | 10
| 1,2-Dichloropropane | µg/L | 5
| 2,2-Dichloropropane | µg/L | 5
| cis-1,3-Dichloropropene | µg/L | 5
| trans-1,3-Dichloropropene | µg/L | 5
Halogenated Aromatic Compounds | Bromobenzene | µg/L | 5
| Chlorobenzene | µg/L | 5
| 2-Chlorotoluene | µg/L | 5
| 4-Chlorotoluene | µg/L | 5
| 1,2-Dichlorobenzene | µg/L | 5
| 1,3-Dichlorobenzene | µg/L | 5
| 1,4-Dichlorobenzene | µg/L | 5 |  | 160
| 1,2,3-Trichlorobenzene | µg/L | 5 |  | 260
| 1,2,4-Trichlorobenzene | µg/L | 5 |  | 60
Halogenated Alphatic Compounds | Dichlorodifluoromethane (Freon 12) | µg/L | 50 |  | 10
| Chloromethane | µg/L | 50 |  | 170
| Vinyl chloride | µg/L | 50
| Bromomethane | µg/L | 50
| Chloroethane | µg/L | 50
| Trichlorofluoromethane (Freon 11) | µg/L | 50
| 1,1-Dichloroethene | µg/L | 5
| Iodomethane | µg/L | 5
| 1,1-Dichloroethane | µg/L | 5
| cis-1,2-Dichloroethene | µg/L | 5
| trans-1,2-Dichloroethene | µg/L | 5 |  | 1900
| 1,1,1-Trichloroethane | µg/L | 5 |  | 1900
| 1,1-Dichloropropene | µg/L | 5
| Carbon Tetrachloride | µg/L | 5 |  | 500
| 1,2-Dichloroethane | µg/L | 5
| Trichloroethene | µg/L | 5
| Dibromomethane | µg/L | 5
| 1,1,2-Trichloroethane | µg/L | 5
| 1,3-Dichloropropane | µg/L | 5 |  | 6800
| Tetrachloroethene | µg/L | 5 |  | 1100
| 1,1,1,2-Tetrachloroethane | µg/L | 5
| trans-1,4-Dichloro-2-butene | µg/L | 5
| cis-1,4-Dichloro-2-butene | µg/L | 5
| 1,1,2,2-Tetrachloroethane | µg/L | 5
| 1,2,3-Trichloropropane | µg/L | 5
| Pentachloroethane | µg/L | 5
| 1,2-Dibromo-3-chloropropane | µg/L | 5
| Hexachlorobutadiene | µg/L | 5
Trihalomethanes | Bromodichloromethane | µg/L | 5
| Bromoform | µg/L | 5
| Chloroform | µg/L | 5
| Dibromochloromethane | µg/L | 5
| Total Organic Carbon | mg/L | 1 |  |  | 13 | 6 | 27 | 64 | 10 | 15 | 18 |  |  | 538
| Electrical conductivity (probe) | µS/cm | 1 |  |  | MP10: 4803
| Electrical conductivity (lab) | µS/cm | 1 |  |  | 1060 | 1330 | 1460 | 1450 | 5860 | 522 | 415
| Biological Oxygen Demand | mg/L | 2 |  |  | MP10: 79
Alkalinity | Bicarbonate Alkalinity as CaCO3 | mg/L | 1 |  |  | 121 | 8 | 497 | 282 | 140 | 108 | 129 |  |  | 3360
| Carbonate Alkalinity as CaCO3 | mg/L | 1 |  |  | <1 | <1 | <1 | <1 | <1 | <1 | <1 |  |  | 135
| Hydroxide Alkalinity as CaCO3 | mg/L | 1 | bar: MP1 to MP7; MP10
| Total Alkalinity as CaCO3 | mg/L | 1 |  |  | 121 | 8 | 497 | 282 | 140 | 108 | 129 |  |  | 3500
| Polychlorinated Biphenyls | µg/L | 1
Oxygentated Compounds | Vinyl acetate | µg/L | 50
| 2-Butanone (MEK) | µg/L | 50
| 2-hexanone (MBK) | µg/L | 50
| 4-Methyl-2-pentanone (MIBK) | µg/L | 50
| Carbon disulfide | µg/L | 5
Organophosphorus Pesticides | Azinphos Methyl | µg/L | 0.5 |  | 0.02
| Bromophos-ethyl | µg/L | 0.5
| Carbophenothion | µg/L | 0.5
| Chlorfenvinphos | µg/L | 0.5
| Chlorpyrifos | µg/L | 0.5 |  | 0.01
| Chlorpyrifos-methyl | µg/L | 0.5
| Demeton-S-methyl | µg/L | 0.5
| Diazinon | µg/L | 0.5 |  | 0.01
| Dichlorvos | µg/L | 0.5
| Dimethoate | µg/L | 0.5 |  | 0.15
| Ethion | µg/L | 0.5
| Fenamiphos | µg/L | 0.5
| Fenthion | µg/L | 0.5
| Malathion | µg/L | 0.5 |  | 0.05
| Monocrotophos | µg/L | 2
| Parathion | µg/L | 2 |  | 0.004
| Parathion-methyl | µg/L | 2
| Pirimphos-ethyl | µg/L | 0.5
| Prothiofos | µg/L | 0.5
Organochlorine Pesticides | Aldrin | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Dieldrin | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Aldrin + Dieldrin | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Alpha-BHC | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Beta-BHC | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Delta-BHC | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Gamma-BHC | µg/L | 0.5 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| cis-Chlordane | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| trans-Chlordane | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Total Chlordane | µg/L | 0.5 |  | 0.08 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| DDD | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| DDE | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| DDT | µg/L | 2 |  | 0.01 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 |  |  | <2.0
| DDT+DDE+DDD | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Alpha-Endosulfan | µg/L | 0.5 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Beta-Endosulfan | µg/L | 0.5 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Beta-BHC | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Endrin | µg/L | 0.5 |  | 0.02 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Endrin aldehyde | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Endrin ketone | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Heptachlor | µg/L | 0.5 |  | 0.09 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Heptachlor epoxide | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Hexachlorobenzene (HCB) | µg/L | 0.5 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 |  |  | <0.5
| Methoxychlor | µg/L | 2 |  |  | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 |  |  | <2.0
| Total phenolics | mg/L | 0.05 |  | 320 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 |  |  | <0.05

## 2nd Quarter (April)
| LMCC - Awaba Waste Management Facility |  |  |  | Quarterly
Environment Protection License 5873 Quarterly water monitoring results
|  | EPL 5873 I.D. |  |  |  | MP1 | MP2 | MP3 | MP4 | MP5 | MP6 | MP7 | MP10 | MP11 | MP12 | MP14 | MP15 | MP19 | MP20 | MP21 | MP22 | MP23
| Parameter | Unit | LOR | EPL 5873 | ANZG 2000 freshwater 95% LOP
| Standing water level | m |  |  |  | MP1: 9.9; MP2: 2.91; MP3: 2.47; MP4: 2.78; MP5: 0.79; MP19: 3.6; MP20: 2.54; MP21: 2.14; MP22: 1.81; MP23: 3.67
| Total Dissolved Solids | mg/L | 10 |  |  | MP10: 2430
| pH (Lab) | pH units | 0.01 |  |  | 6.38 | 5.21 | 7.1 | 6.51 | 6.13 | 7.66 | 7.87 | 8.08 | 4.55 | 6.59 | 6.82 | 5.55 | 7.59 | 4.41 | 6.06 | 7.64 | 6.21
| pH (probe) | pH units | 0.01 |  |  | MP10: N/a
| Total Suspended Solids | mg/L | 5 | 50 @ MP6 and MP7 for discharge |  | MP6: 270; MP7: 46; MP10: 62; MP11: <5; MP12: 12; MP14: 52; MP15: 170
Metals | Reactive Phosphate | mg/kg | 0.01
| Aluminium (Filtered) | mg/L | 0.01 |  | pH>6.5 0.055 | MP10: 0.17
| Arsenic (Filtered) | mg/L | 0.001 |  | 0.013 | MP10: 0.033
| Barium (Filtered) | mg/L | 0.001 |  |  | MP10: 0.211
| Cadmium (Filtered) | mg/L | 0.0001 |  | 0.002 | MP10: <0.0001
| Chromium (Filtered) | mg/L | 0.001 |  | 0.033 | MP10: 0.177
| Chromium (hexavalent) (Filtered) | mg/L | 0.01 |  | 0.01 | MP10: <0.01
| Cobalt (Filtered) | mg/L | 0.001 |  | 0.014 | MP10: 0.014
| Copper (Filtered) | mg/L | 0.001 |  | 0.014 | MP10: 0.006
| Iron (Filtered) | µg/L | 2 |  |  | 1580 | 12 | 2890 | 13000 | 565 | 125 | 112 | 4140 | 166 | 256 | 3450 | 240 | 20 | 511 | 2570 | 8210 | 62600
| Lead (Filtered) | mg/L | 0.001 |  | 0.034 | MP10: 0.004
| Manganese (Filtered) | µg/L | 0.5 |  | 1.9 | 831 | 3.4 | 257 | 513 | 480 | 198 | 3.9 | 378 | 18.4 | 77.8 | 683 | 47.6 | 4.2 | 43 | 774 | 403 | 33
| Mercury (Filtered) | mg/L | 0.0001 |  | 0.006 | MP10: <0.0001
| Nickel (filtered) | mg/L | 0.001 |  | 0.01 | MP10: 0.046
| Zinc (Filtered) | mg/L | 0.005 |  | 0.08 | MP10: 0.067
Per- and polyfluorinated alkyl substances | Perfluorooctanoic acid (PFOA) | µg/L | 0.01
| Perfluorooctane sulfonic acid (PFOS) | µg/L | 0.01
| Perfluorohexane sulfonic acid (PFHxS) | µg/L | 0.01
| Sum (PFHxS + PFOS) | µg/L | 0.01
| 4:2 Fluorotelomer sulfonic acid (4:2 FTS) | µg/L | 0.05
| 6:2 Fluorotelomer sulfonic acid (6:2 FTS) | µg/L | 0.05
| 8:2 Fluorotelomer sulfonic acid (8:2 FTS) | µg/L | 0.05
| 10:2 Fluorotelomer sulfonic acid (10:2 FTS) | µg/L | 0.05
| Perfluorobutane sulfonic acid (PFBS) | µg/L | 0.02
| Perfluorobutanoic acid (PFBA) | µg/L | 0.1
| Perfluorodecane sulfonic acid (PFDS) | µg/L | 0.02
| Perfluorodecanoic acid (PFDA) | µg/L | 0.02
| Perfluorododecanoic acid (PFDoDA) | µg/L | 0.02
| Perfluoroheptane sulfonic acid (PFHpS) | µg/L | 0.02
| Perfluoroheptanoic acid (PFHpA) | µg/L | 0.02
| Perfluorohexanoic acid (PFHxA) | µg/L | 0.02
| Perfluorononanoic acid (PFNA) | µg/L | 0.02
| Perfluorooctane sulfonamide (FOSA) | µg/L | 0.02
| Perfluoropentane sulfonic acid (PFPeS) | µg/L | 0.02
| Perfluoropentanoic acid (PFPeA) | µg/L | 0.02
| Perfluorotetradecanoic acid (PFTeDA) | µg/L | 0.05
| Perfluorotridecanoic acid (PFTrDA) | µg/L | 0.02
| Perfluoroundecanoic acid (PFUnDA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamide (EtFOSA) | µg/L | 0.05
| N-Ethyl perfluorooctane sulfonamidoacetic acid (EtFOSAA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamidoethanol (EtFOSE) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamide (MeFOSA) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamidoacetic acid (MeFOSAA) | µg/L | 0.02
| N-Methyl perfluorooctane sulfonamidoethanol (MeFOSE) | µg/L | 0.05
| Sum of PFAS | µg/L | 0.01
Total Petroleum Hydrocarbons | C6-C9 fraction | µg/L | 20 |  |  | MP10: 30
| C10-C14 fraction | µg/L | 50 |  |  | MP10: 300
| C15-C28 fraction | µg/L | 100 |  |  | MP10: 750
| C29-C36 fraction | µg/L | 50 |  |  | MP10: <50
| C10-C36 fraction (sum) | µg/L | 50 |  |  | MP10: 1050
Total Recoverable Hydrocarbons | C6-C10 fraction | µg/L | 20
| C6-C10 fraction (minus BTEX)(F1) | µg/L | 20
| >C10-C16 (minus Naphthalene)(F2) | µg/L | 100
| >C10-C16 fraction | µg/L | 100
| >C16-C34 fraction | µg/L | 100
| >C34-C40 fraction | µg/L | 100
| >C10-C40 fraction (sum) | µg/L | 100
Major Ions | Chloride | mg/L | 1 |  |  | 233 | 102 | 53 | 76 | 1340 | 47 | 56 | 522 | 32 | 108 | 175 | 78 | 21 | 372 | 1290 | 394 | 800
| Calcium (Filtered) | mg/L | 1 |  |  | 27 | <1 | 46 | 52 | 21 | 38 | 40 | 71 | <1 | 9 | 16 | 4 | 36 | 2 | 23 | 50 | 9
| Fluoride | mg/L | 0.1 |  |  | 0.4 | 0.1 | 0.5 | 0.4 | 0.6 | 0.2 | 0.3 | 0.3 | <0.1 |  |  |  | 0.5 | 0.1 | 0.5 | 0.4 | <0.1
| Magnesium (Filtered) | mg/L | 1 |  |  | 35 | 1 | 18 | 23 | 87 | 12 | 15 | 40 | 3 | 10 | 16 | 8 | 28 | 18 | 68 | 44 | 41
| Potassium (Filtered) | mg/L | 1 |  |  | 7 | 2 | 30 | 15 | 18 | 21 | 30 | 210 | 2 | 9 | 20 | 3 | 4 | 3 | 17 | 331 | 46
| Sodium (Filtered) | mg/L | 1 |  |  | 148 | 101 | 86 | 90 | 859 | 51 | 63 |  | 20 | 54 | 100 | 44 | 31 | 297 | 860 | 755 | 372
| Total Anions | meq/L | 0.01
| Total Cations | meq/L | 0.01
| Sulfate (as SO4-) (Filtered) | mg/L | 1 |  |  | 39 | 67 | 14 | <10 | 225 | 51 | 34 | <10 | 12 | 20 | 8 | 20 | 54 | 239 | 72 | <0.10 | 28
| Ionic Balance | % | 0.01
Nutrients | Ammonia (as N) | mg/L | 0.01 |  | 0.9 | 0.29 | <0.01 | 7.34 | 5.19 | 0.24 | 1.95 | 2.99 | 324 | 0.02 | 0.06 | 0.38 | <0.01 | 0.02 | 0.13 | 0.29 | 624 | 46.7
| Nitrate (as N) | mg/L | 0.01 |  |  | 0.04 | 0.1 | 0.03 | <0.10 | 0.15 | <0.01 | 5.22 | <0.10 | 0.18 | 0.01 | <0.01 | 0.03 | 0.07 | 0.02 | 0.03 | <0.10 | <0.10
| Nitrite (as N) | mg/L | 0.01 |  |  | MP10: <0.10
| Nitrite + Nitrate as N | mg/L | 0.01
| Total phosphorus | mg/L | 0.01 |  |  | 0.84 | 0.05 | 0.09 | 1.14 | 0.06 | 0.77 | 0.44 | 4.64 | 0.1 | <0.10 | <0.10 | <0.10 | 0.24 | 0.03 | 0.1 | 6.65 | 0.06
| Polychlorinated Biphenyls (PCB) | µg/L | 1 | bar: MP1 to MP10
BTEX | Benzene | µg/L | 5 |  | 950
| Toluene | µg/L | 1 |  | 180 | bar: MP1 to MP10
| Ethylbenzene | µg/L | 2 |  | 80 | bar: MP1 to MP10
| m&p-Xylene | µg/L | 2 |  | 180
| o-Xylene | µg/L | 2 |  | 350
| Total Xylenes | µg/L | 2
| Total BTEX | µg/L | 2
Monocyclic Aromatic Hydrocarbons | Naphthalene (used F2 calc) | µg/L | 5 |  | 16
| Styrene | µg/L | 5
| Isopropylbenzene | µg/L | 5 |  | 30
| n-butylbenzene | µg/L | 5
| n-propylbenzene | µg/L | 5
| p-isopropyltoluene | µg/L | 5
| sec-butylbenzene | µg/L | 5
| tert-butylbenzene | µg/L | 5
| 1,2,4-trimethylbenzene | µg/L | 5
| 1,3,5-trimethylbenzene | µg/L | 1
Polynuclear Aromatic Hydrocarbons | Benzo(a)pyrene TEQ calc (Zero) | µg/L | 0.5 |  | 0.2 | MP10: <0.5
| Naphthalene | µg/L | 1 |  |  | MP10: <1.0
| Acenaphthylene | µg/L | 1 |  |  | MP10: <1.0
| Acenaphthene | µg/L | 1 |  |  | MP10: <1.0
| Anthracene | µg/L | 1 |  | 0.4 | MP10: <1.0
| Fluorene | µg/L | 1 |  |  | MP10: <1.0
| Phenanthrene | µg/L | 1 |  |  | MP10: <1.0
| Fluoranthene | µg/L | 1 |  | 1.4 | MP10: <1.0
| Benz(a)anthracene | µg/L | 1 |  |  | MP10: <1.0
| Benzo(k)fluoranthene | µg/L | 1 |  |  | MP10: <1.0
| Benzo(b&j)fluoranthene | µg/L | 1 |  |  | MP10: <1.0
| Benzo(a)pyrene | µg/L | 0.5 |  |  | MP10: <0.5
| Chrysene | µg/L | 1 |  |  | MP10: <1.0
| Pyrene | µg/L | 1 |  |  | MP10: <1.0
| Benzo(g,h,i)perylene | µg/L | 1 |  |  | MP10: <1.0
| Dibenz(a,h)anthracene | µg/L | 1 |  |  | MP10: <1.0
| Indeno(1,2,3-cd)pyrene | µg/L | 1 |  |  | MP10: <1.0
| Sum of PAHs | µg/L | 0.5 |  |  | MP10: <0.5
Phenols | 3/4-Methylphenol (m/p-cresol) | µg/L | 2
| Phenol | µg/L | 1 |  | 320
| 2-Chlorophenol | µg/L | 1 |  | 490
| 2-Methylphenol (o-Cresol) | µg/L | 1
| 2-Nitrophenol | µg/L | 1
| 2,4-Dichlorophenol | µg/L | 1
| 2,4-Dimethylphenol | µg/L | 1
| 2,6-Dichlorophenol | µg/L | 1
| 4-Chloro-3-methylphenol | µg/L | 1
| 2,4,6-Trichlorophenol | µg/L | 1 |  | 20
| 2,4,5-Trichlorophenol | µg/L | 1
| Pentachlorophenol | µg/L | 2 |  | 10
| Sum of Phenols | µg/L | 50
Fumigants | 1,2-Dibromoethane (EDB) | µg/L | 5
| 1,2-Dichloropropane | µg/L | 5
| 2,2-Dichloropropane | µg/L | 5
| cis-1,3-Dichloropropene | µg/L | 5
| trans-1,3-Dichloropropene | µg/L | 5
Halogenated Aromatic Compounds | Bromobenzene | µg/L | 5 | bar: MP1 to MP10
| Chlorobenzene | µg/L | 5 | bar: MP1 to MP10
| 2-Chlorotoluene | µg/L | 5 | bar: MP1 to MP10
| 4-Chlorotoluene | µg/L | 5 | bar: MP1 to MP10
| 1,2-Dichlorobenzene | µg/L | 5 |  | 160 | bar: MP1 to MP10
| 1,3-Dichlorobenzene | µg/L | 5 |  | 260 | bar: MP1 to MP10
| 1,4-Dichlorobenzene | µg/L | 5 |  | 60 | bar: MP1 to MP10
| 1,2,3-Trichlorobenzene | µg/L | 5 |  | 10 | bar: MP1 to MP10
| 1,2,4-Trichlorobenzene | µg/L | 5 |  | 170 | bar: MP1 to MP10
Halogenated Alphiatic Compounds | Dichlorodifluoromethane (Freon 12) | µg/L | 50 |  |  | MP10: <50
| Chloromethane | µg/L | 50 |  |  | MP10: <50
| Vinyl chloride | µg/L | 50 |  |  | MP10: <50
| Bromomethane | µg/L | 50 |  |  | MP10: <50
| Chloroethane | µg/L | 50 |  |  | MP10: <50
| Trichlorofluoromethane (Freon 11) | µg/L | 50 |  |  | MP10: <50
| Iodomethane | µg/L | 5 | bar: MP1 to MP10
| 1,1-Dichloroethane | µg/L | 5 | bar: MP1 to MP10
| cis-1,2-Dichloroethene | µg/L | 5 |  | 1900 | bar: MP1 to MP10
| trans-1,2-Dichloroethene | µg/L | 5 |  | 1900 | bar: MP1 to MP10
| 1,1,1-Trichloroethane | µg/L | 5 | bar: MP1 to MP10
| 1,1-Dichloropropene | µg/L | 5 |  | 500 | bar: MP1 to MP10
| Carbon Tetrachloride | µg/L | 5 | bar: MP1 to MP10
| 1,2-Dichloroethane | µg/L | 5 | bar: MP1 to MP10
| Trichloroethene | µg/L | 5 | bar: MP1 to MP10
| Dibromomethane | µg/L | 5 | bar: MP1 to MP10
| 1,1,2-Trichloroethane | µg/L | 5 |  | 6800 | bar: MP1 to MP10
| 1,3-Dichloropropane | µg/L | 5 |  | 1100 | bar: MP1 to MP10
| Tetrachloroethene | µg/L | 5 | bar: MP1 to MP10
| 1,1,1,2-Tetrachloroethane | µg/L | 5 | bar: MP1 to MP10
| trans-1,4-Dichloro-2-butene | µg/L | 5 | bar: MP1 to MP10
| cis-1,4-Dichloro-2-butene | µg/L | 5 | bar: MP1 to MP10
| 1,1,2,2-Tetrachloroethane | µg/L | 5 | bar: MP1 to MP10
| 1,2,3-Trichloropropane | µg/L | 5 | bar: MP1 to MP10
| Pentachloroethane | µg/L | 5 | bar: MP1 to MP10
| 1,2-Dibromo-3-chloropropane | µg/L | 5 | bar: MP1 to MP10
| Hexachlorobutadiene | µg/L | 5 | bar: MP1 to MP10
Trihalomethanes | Bromodichloromethane | µg/L | 5
| Bromoform | µg/L | 5
| Chloroform | µg/L | 5
| Dibromochloromethane | µg/L | 5
| Total Organic Carbon | mg/L | 1 |  |  | 9 | 4 | 16 | 52 | 6 | 31 | 30 | 194 | 19 | 14 | 33 | 12 | 7 | 7 | 14 | 336 | 27
| Electrical conductivity (probe) | µS/cm | 1 |  |  | MP10: N/a
| Electrical conductivity (lab) | µS/cm | 1 |  |  | 1120 | 536 | 795 | 804 | 5190 | 551 | 661 | 5520 | 150 | 396 | 738 | 312 | 493 | 1650 | 4810 | 8400 | 3120
| Biological Oxygen Demand | mg/L | 2 |  |  | MP10: 35
Alkalinity | Bicarbonate Alkalinity as CaCO3 | mg/L | 1 |  |  | 150 | 11 | 350 | 327 | 144 | 169 | 211 | 2140 | 5 | 32 | 118 | 5 | 194 | 6 | 282 | 3210 | 97
| Hydroxide Alkalinity as CaCO3 | mg/L | 1 | bar: MP1 to MP23
| Total Alkalinity as CaCO3 | mg/L | 1 |  |  | 150 | 11 | 350 | 327 | 144 | 169 | 211 | 2140 | 5 | 32 | 118 | 5 | 194 | 6 | 282 | 3210 | 97
| Polychlorinated Biphenyls | µg/L | 1
Oxygentated Compounds | Vinyl acetate | µg/L | 50
| 2-Butanone (MEK) | µg/L | 50
| 2-hexanone (MBK) | µg/L | 50
| 4-Methyl-2-pentanone (MIBK) | µg/L | 50
| Carbon disulfide | µg/L | 5
Organophosphorus Pesticides | Azinphos Methyl | µg/L | 0.5 |  | 0.02 | MP10: <0.5
| Bromophos-ethyl | µg/L | 0.5 |  |  | MP10: <0.5
| Carbophenothion | µg/L | 0.5 |  |  | MP10: <0.5
| Chlorfenvinphos | µg/L | 0.5 |  |  | MP10: <0.5
| Chlorpyrifos | µg/L | 0.5 |  | 0.01 | MP10: <0.5
| Chlorpyrifos-methyl | µg/L | 0.5 |  |  | MP10: <0.5
| Demeton-S-methyl | µg/L | 0.5 |  |  | MP10: <0.5
| Diazinon | µg/L | 0.5 |  | 0.01 | MP10: <0.5
| Dichlorvos | µg/L | 0.5 |  |  | MP10: <0.5
| Dimethoate | µg/L | 0.5 |  | 0.15 | MP10: <0.5
| Ethion | µg/L | 0.5 |  |  | MP10: <0.5
| Fenamiphos | µg/L | 0.5 |  |  | MP10: <0.5
| Fenthion | µg/L | 0.5 |  |  | MP10: <0.5
| Malathion | µg/L | 0.5 |  | 0.05 | MP10: <0.5
| Monocrotophos | µg/L | 2 |  |  | MP10: <2.0
| Parathion | µg/L | 2 |  | 0.004 | MP10: <2.0
| Parathion-methyl | µg/L | 2 |  |  | MP10: <2.0
| Pirimphos-ethyl | µg/L | 0.5 |  |  | MP10: <0.5
| Prothiofos | µg/L | 0.5 |  |  | MP10: <0.5
Organochlorine Pesticides | Aldrin | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Dieldrin | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Aldrin + Dieldrin | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| a-BHC | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| b-BHC | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| d-BHC | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| g-BHC (Lindane) | µg/L | 0.01 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| cis-Chlordane | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| trans-Chlordane | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Chlordane | µg/L | 0.01 |  | 0.08 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| DDD | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| DDE | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| DDT | µg/L | 0.01 |  | 0.01 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
| DDT+DDE+DDD | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endosulfan 1 | µg/L | 0.01 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endosulfan 2 | µg/L | 0.01 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endosulfan sulfate | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endrin | µg/L | 0.01 |  | 0.02 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endrin aldehyde | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endrin ketone | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Heptachlor | µg/L | 0.005 |  | 0.09 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Heptachlor epoxide | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Hexachlorobenzene (HCB) | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Methoxychlor | µg/L | 0.01 |  |  | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
| Total phenols | mg/L | 0.05 |  | 320 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05

## 3rd Quarter (July)
| LMCC - Awaba Waste Management Facility |  |  |  | Quarterly
Environment Protection License 5873 Quarterly water monitoring results
|  | EPL 5873 I.D. |  |  |  | MP1 | MP2 | MP3 | MP4 | MP5 | MP6 | MP7 | MP10 | MP11 | MP12 | MP14 | MP15 | MP19 | MP20 | MP21 | MP22 | MP23
| Parameter | Unit | LOR | EPL 5873 | ANZG 2000 freshwater 95% LOP
| Standing water level | m |  |  |  | MP1: 5.5; MP2: 3.1; MP3: 2.9; MP4: 3.1; MP5: 1; MP19: 4.4; MP20: 3.2; MP21: 2.2; MP22: 0.45; MP23: 3.5
| Total Dissolved Solids | mg/L | 10 |  |  | MP10: 4020
| pH (Lab) | pH units | 0.01 |  |  | 6.05 | 5.27 | 7.05 | 6.66 | 6.1 | 7.69 | 7.88 |  | 4.36 | 5.56 | 6.76 | 7.27 | 6.13 | 4.57 | 5.96 | 7.73 | 6.32
| pH (probe) | pH units | 0.01 |  |  | MP10: 8.27
| Total Suspended Solids | mg/L | 5 | 50 @ MP6 and MP7 for discharge |  | MP6: 35; MP7: 32; MP10: 46; MP11: 198; MP12: <5; MP14: 35; MP15: <5
Metals | Reactive Phosphate | mg/kg | 0.01 |  |  | MP10: 0.75
| Aluminium (Filtered) | mg/L | 0.01 |  | pH>6.5 0.055 | MP10: 0.5
| Arsenic (Filtered) | mg/L | 0.001 |  | 0.013 | MP10: 0.056
| Barium (Filtered) | mg/L | 0.001 |  |  | MP10: 0.366
| Cadmium (Filtered) | mg/L | 0.0001 |  | 0.002 | MP10: <0.0001
| Chromium (Filtered) | mg/L | 0.001 |  | 0.033 | MP10: 0.31
| Chromium (hexavalent) (Filtered) | mg/L | 0.01 |  | 0.01 | MP10: <0.10
| Cobalt (Filtered) | mg/L | 0.001 |  | 0.014 | MP10: 0.026
| Copper (Filtered) | mg/L | 0.001 |  | 0.014 | MP10: 0.006
| Iron (Filtered) | µg/L | 2 |  |  | 12200 | 18 | 250 | 2580 | 590 | 174 | 85 | 8450 | 513 | <0.001 | 8340 | 442 | 45 | 214 | 602 | 9060 | 26000
| Lead (Filtered) | mg/L | 0.001 |  | 0.034 | MP10: 0.004
| Manganese (Filtered) | µg/L | 0.5 |  | 1.9 | 1820 | 24.7 | 368 | 326 | 512 | 216 | 18.2 | 706 | 19.6 | 0.035 | 1180 | 10 | 463 | 58 | 1210 | 448 | 25.5
| Mercury (Filtered) | mg/L | 0.0001 |  | 0.006 | MP10: <0.0001
| Nickel (filtered) | mg/L | 0.001 |  | 0.01 | MP10: 0.088
| Zinc (Filtered) | mg/L | 0.005 |  | 0.08 | MP10: 0.183
Per- and polyfluorinated alkyl substances | Perfluorooctanoic acid (PFOA) | µg/L | 0.01
| Perfluorooctane sulfonic acid (PFOS) | µg/L | 0.01
| Perfluorohexane sulfonic acid (PFHxS) | µg/L | 0.01
| Sum (PFHxS + PFOS) | µg/L | 0.01
| 4:2 Fluorotelomer sulfonic acid (4:2 FTS) | µg/L | 0.05
| 6:2 Fluorotelomer sulfonic acid (6:2 FTS) | µg/L | 0.05
| 8:2 Fluorotelomer sulfonic acid (8:2 FTS) | µg/L | 0.05
| 10:2 Fluorotelomer sulfonic acid (10:2 FTS) | µg/L | 0.05
| Perfluorobutane sulfonic acid (PFBS) | µg/L | 0.02
| Perfluorobutanoic acid (PFBA) | µg/L | 0.1
| Perfluorodecane sulfonic acid (PFDS) | µg/L | 0.02
| Perfluorodecanoic acid (PFDA) | µg/L | 0.02
| Perfluorododecanoic acid (PFDoDA) | µg/L | 0.02
| Perfluoroheptane sulfonic acid (PFHpS) | µg/L | 0.02
| Perfluoroheptanoic acid (PFHpA) | µg/L | 0.02
| Perfluorohexanoic acid (PFHxA) | µg/L | 0.02
| Perfluorononanoic acid (PFNA) | µg/L | 0.02
| Perfluorooctane sulfonamide (FOSA) | µg/L | 0.02
| Perfluoropentane sulfonic acid (PFPeS) | µg/L | 0.02
| Perfluoropentanoic acid (PFPeA) | µg/L | 0.02
| Perfluorotetradecanoic acid (PFTeDA) | µg/L | 0.05
| Perfluorotridecanoic acid (PFTrDA) | µg/L | 0.02
| Perfluoroundecanoic acid (PFUnDA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamide (EtFOSA) | µg/L | 0.05
| N-Ethyl perfluorooctane sulfonamidoacetic acid (EtFOSAA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamidoethanol (EtFOSE) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamide (MeFOSA) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamidoacetic acid (MeFOSAA) | µg/L | 0.02
| N-Methyl perfluorooctane sulfonamidoethanol (MeFOSE) | µg/L | 0.05
| Sum of PFAS | µg/L | 0.01
Total Petroleum Hydrocarbons | C6-C9 fraction | µg/L | 20 |  |  | MP10: 40
| C10-C14 fraction | µg/L | 50 |  |  | MP10: 460
| C15-C28 fraction | µg/L | 100 |  |  | MP10: 1280
| C29-C36 fraction | µg/L | 50 |  |  | MP10: <50
| C10-C36 fraction (sum) | µg/L | 50 |  |  | MP10: 1740
Total Recoverable Hydrocarbons | C6-C10 fraction | µg/L | 20 |  |  | MP10: 30
| C6-C10 fraction (minus BTEX)(F1) | µg/L | 20 |  |  | MP10: 30
| >C10-C16 (minus Naphthalene)(F2) | µg/L | 100 |  |  | MP10: 700
| >C10-C16 fraction | µg/L | 100 |  |  | MP10: 700
| >C16-C34 fraction | µg/L | 100 |  |  | MP10: 1030
| >C34-C40 fraction | µg/L | 100 |  |  | MP10: <100
| >C10-C40 fraction (sum) | µg/L | 100 |  |  | MP10: 1730
Major Ions | Chloride | mg/L | 1 |  |  | 351 | 213 | 116 | 18 | 1500 | 61 | 122 | 941 | 109 | 88 | 260 | 116 | 269 | 390 | 1250 | 163 | 870
| Calcium (Filtered) | mg/L | 1 |  |  | 14 | 1 | 62 | 57 | 20 | 42 | 52 | 95 | 2 | 4 | 24 | 24 | 10 | 2 | 22 | 106 | 7
| Fluoride | mg/L | 0.1 |  |  | 0.4 | 0.3 | 0.4 | 0.2 | 0.6 | 0.2 | 0.3 | 0.4 | 0.2 | <0.1 | 0.3 | 0.2 | 0.3 | 0.1 | 0.4 | 0.4 | <0.1
| Magnesium (Filtered) | mg/L | 1 |  |  | 34 | 5 | 21 | 16 | 86 | 16 | 21 | 56 | 10 | 8 | 23 | 15 | 25 | 16 | 66 | 80 | 43
| Potassium (Filtered) | mg/L | 1 |  |  | 9 | 3 | 26 | 9 | 15 | 18 | 28 | 342 | 3 | 3 | 18 | 16 | 8 | 4 | 15 | 599 | 50
| Sodium (Filtered) | mg/L | 1 |  |  | 149 | 163 | 80 | 44 | 818 | 56 | 87 |  | 47 | 44 | 134 | 78 | 130 | 303 | 739 | 1360 | 350
| Total Anions | meq/L | 0.01
| Total Cations | meq/L | 0.01
| Sulfate (as SO4-) (Filtered) | mg/L | 1 |  |  | 29 | 94 | 8 | 8 | 232 | 35 | 58 | <1 | 17 | 15 | <10 | 17 | 35 | 228 | 65 | <1 | 29
| Ionic Balance | % | 0.01
Nutrients | Ammonia (as N) | mg/L | 0.01 |  | 0.9 | 0.02 | 0.05 | 8.53 | 0.99 | 0.34 | 2.78 | 1.66 | 670 | 0.05 | 0.01 | 0.28 | <0.01 | 0.06 | 0.23 | 0.82 | 850 | 71.5
| Nitrate (as N) | mg/L | 0.01 |  |  | 0.09 | 0.03 | 0.03 | <0.01 | <0.01 | 0.04 | 18.4 | 0.15 | 0.01 | 0.02 | <0.01 | 0.97 | 0.01 | 0.07 | 0.01 | 0.37 | <0.01
| Nitrite (as N) | mg/L | 0.01 |  |  | MP10: <0.01
| Nitrite + Nitrate as N | mg/L | 0.01
| Total phosphorus | mg/L | 0.01 |  |  | 0.24 | 0.19 | 0.1 | 0.81 | 0.08 | 0.15 | 0.11 | 9.13 | 0.08 | <0.01 | 0.1 | 0.03 | 0.8 | 0.08 | 0.18 | 10.4 | 0.05
| Polychlorinated Biphenyls (PCB) | µg/L | 1 | bar: MP1 to MP10
BTEX | Benzene | µg/L | 5 |  | 950
| Toluene | µg/L | 1 |  | 180 | bar: MP1 to MP10
| Ethylbenzene | µg/L | 2 |  | 80 | bar: MP1 to MP10
| m&p-Xylene | µg/L | 2 |  | 180
| o-Xylene | µg/L | 2 |  | 350
| Total Xylenes | µg/L | 2
| Total BTEX | µg/L | 2
Monocyclic Aromatic Hydrocarbons | Naphthalene (used F2 calc) | µg/L | 5 |  | 16
| Styrene | µg/L | 5
| Isopropylbenzene | µg/L | 5 |  | 30
| n-butylbenzene | µg/L | 5
| n-propylbenzene | µg/L | 5
| p-isopropyltoluene | µg/L | 5
| sec-butylbenzene | µg/L | 5
| tert-butylbenzene | µg/L | 5
| 1,2,4-trimethylbenzene | µg/L | 5
| 1,3,5-trimethylbenzene | µg/L | 1
Polynuclear Aromatic Hydrocarbons | Benzo(a)pyrene TEQ calc (Zero) | µg/L | 0.5 |  | 0.2 | MP10: <0.5
| Naphthalene | µg/L | 1 |  |  | MP10: <1.0
| Acenaphthylene | µg/L | 1 |  |  | MP10: <1.0
| Acenaphthene | µg/L | 1 |  |  | MP10: <1.0
| Anthracene | µg/L | 1 |  | 0.4 | MP10: <1.0
| Fluorene | µg/L | 1 |  |  | MP10: <1.0
| Phenanthrene | µg/L | 1 |  |  | MP10: <1.0
| Fluoranthene | µg/L | 1 |  | 1.4 | MP10: <1.0
| Benz(a)anthracene | µg/L | 1 |  |  | MP10: <1.0
| Benzo(k)fluoranthene | µg/L | 1 |  |  | MP10: <1.0
| Benzo(b&j)fluoranthene | µg/L | 1 |  |  | MP10: <1.0
| Benzo(a)pyrene | µg/L | 0.5 |  |  | MP10: <0.5
| Chrysene | µg/L | 1 |  |  | MP10: <1.0
| Pyrene | µg/L | 1 |  |  | MP10: <1.0
| Benzo(g,h,i)perylene | µg/L | 1 |  |  | MP10: <1.0
| Dibenz(a,h)anthracene | µg/L | 1 |  |  | MP10: <1.0
| Indeno(1,2,3-cd)pyrene | µg/L | 1 |  |  | MP10: <1.0
| Sum of PAHs | µg/L | 0.5 |  |  | MP10: <0.5
Phenols | 3/4-Methylphenol (m/p-cresol) | µg/L | 2
| Phenol | µg/L | 1 |  | 320
| 2-Chlorophenol | µg/L | 1 |  | 490
| 2-Methylphenol (o-Cresol) | µg/L | 1
| 2-Nitrophenol | µg/L | 1
| 2,4-Dichlorophenol | µg/L | 1
| 2,4-Dimethylphenol | µg/L | 1
| 2,6-Dichlorophenol | µg/L | 1
| 4-Chloro-3-methylphenol | µg/L | 1
| 2,4,6-Trichlorophenol | µg/L | 1 |  | 20
| 2,4,5-Trichlorophenol | µg/L | 1
| Pentachlorophenol | µg/L | 2 |  | 10
| Sum of Phenols | µg/L | 50
Fumigants | 1,2-Dibromoethane (EDB) | µg/L | 5
| 1,2-Dichloropropane | µg/L | 5
| 2,2-Dichloropropane | µg/L | 5
| cis-1,3-Dichloropropene | µg/L | 5
| trans-1,3-Dichloropropene | µg/L | 5
Halogenated Aromatic Compounds | Bromobenzene | µg/L | 5 | bar: MP1 to MP10
| Chlorobenzene | µg/L | 5 | bar: MP1 to MP10
| 2-Chlorotoluene | µg/L | 5 | bar: MP1 to MP10
| 4-Chlorotoluene | µg/L | 5 | bar: MP1 to MP10
| 1,2-Dichlorobenzene | µg/L | 5 |  | 160 | bar: MP1 to MP10
| 1,3-Dichlorobenzene | µg/L | 5 |  | 260 | bar: MP1 to MP10
| 1,4-Dichlorobenzene | µg/L | 5 |  | 60 | bar: MP1 to MP10
| 1,2,3-Trichlorobenzene | µg/L | 5 |  | 10 | bar: MP1 to MP10
| 1,2,4-Trichlorobenzene | µg/L | 5 |  | 170 | bar: MP1 to MP10
Halogenated Alphiatic Compounds | Dichlorodifluoromethane (Freon 12) | µg/L | 50 |  |  | MP10: <50
| Chloromethane | µg/L | 50 |  |  | MP10: <50
| Vinyl chloride | µg/L | 50 |  |  | MP10: <50
| Bromomethane | µg/L | 50 |  |  | MP10: <50
| Chloroethane | µg/L | 50 |  |  | MP10: <50
| Trichlorofluoromethane (Freon 11) | µg/L | 50 |  |  | MP10: <50
| Iodomethane | µg/L | 5 | bar: MP1 to MP10
| 1,1-Dichloroethane | µg/L | 5 | bar: MP1 to MP10
| cis-1,2-Dichloroethene | µg/L | 5 |  | 1900 | bar: MP1 to MP10
| trans-1,2-Dichloroethene | µg/L | 5 |  | 1900 | bar: MP1 to MP10
| 1,1,1-Trichloroethane | µg/L | 5 | bar: MP1 to MP10
| 1,1-Dichloropropene | µg/L | 5 |  | 500 | bar: MP1 to MP10
| Carbon Tetrachloride | µg/L | 5 | bar: MP1 to MP10
| 1,2-Dichloroethane | µg/L | 5 | bar: MP1 to MP10
| Trichloroethene | µg/L | 5 | bar: MP1 to MP10
| Dibromomethane | µg/L | 5 | bar: MP1 to MP10
| 1,1,2-Trichloroethane | µg/L | 5 |  | 6800 | bar: MP1 to MP10
| 1,3-Dichloropropane | µg/L | 5 |  | 1100 | bar: MP1 to MP10
| Tetrachloroethene | µg/L | 5 | bar: MP1 to MP10
| 1,1,1,2-Tetrachloroethane | µg/L | 5 | bar: MP1 to MP10
| trans-1,4-Dichloro-2-butene | µg/L | 5 | bar: MP1 to MP10
| cis-1,4-Dichloro-2-butene | µg/L | 5 | bar: MP1 to MP10
| 1,1,2,2-Tetrachloroethane | µg/L | 5 | bar: MP1 to MP10
| 1,2,3-Trichloropropane | µg/L | 5 | bar: MP1 to MP10
| Pentachloroethane | µg/L | 5 | bar: MP1 to MP10
| 1,2-Dibromo-3-chloropropane | µg/L | 5 | bar: MP1 to MP10
| Hexachlorobutadiene | µg/L | 5 | bar: MP1 to MP10
Trihalomethanes | Bromodichloromethane | µg/L | 5
| Bromoform | µg/L | 5
| Chloroform | µg/L | 5
| Dibromochloromethane | µg/L | 5
| Total Organic Carbon | mg/L | 1 |  |  | 1 | 11 | 24 | 29 | 10 | 29 | 33 | 344 | 13 | 6 | 34 | 19 | 5 | 12 | 19 | 216 | 36
| Electrical conductivity (probe) | µS/cm | 1 |  |  | MP10: 9940
| Electrical conductivity (lab) | µS/cm | 1 |  |  | 1100 | 838 | 998 | 605 | 5430 | 700 | 975 |  | 342 | 311 | 948 | 637 | 910 | 1620 | 4960 | 12600 | 3480
| Biological Oxygen Demand | mg/L | 2 |  |  | MP10: 115
Alkalinity | Bicarbonate Alkalinity as CaCO3 | mg/L | 1 |  |  | 101 | 11 | 341 | 280 | 124 | 206 | 231 | 3620 | <1 | 10 | 190 | 139 | 93 | 5 | 258 | 4460 | 247
| Hydroxide Alkalinity as CaCO3 | mg/L | 1 | bar: MP1 to MP23
| Total Alkalinity as CaCO3 | mg/L | 1 |  |  | 101 | 11 | 341 | 280 | 124 | 206 | 231 | 3620 | <1 | 10 | 190 | 139 | 93 | 5 | 258 | 4460 | 247
| Polychlorinated Biphenyls | µg/L | 1
Oxygentated Compounds | Vinyl acetate | µg/L | 50
| 2-Butanone (MEK) | µg/L | 50
| 2-hexanone (MBK) | µg/L | 50
| 4-Methyl-2-pentanone (MIBK) | µg/L | 50
| Carbon disulfide | µg/L | 5
Organophosphorus Pesticides | Azinphos Methyl | µg/L | 0.5 |  | 0.02 | MP10: <0.5
| Bromophos-ethyl | µg/L | 0.5 |  |  | MP10: <0.5
| Carbophenothion | µg/L | 0.5 |  |  | MP10: <0.5
| Chlorfenvinphos | µg/L | 0.5 |  |  | MP10: <0.5
| Chlorpyrifos | µg/L | 0.5 |  | 0.01 | MP10: <0.5
| Chlorpyrifos-methyl | µg/L | 0.5 |  |  | MP10: <0.5
| Demeton-S-methyl | µg/L | 0.5 |  |  | MP10: <0.5
| Diazinon | µg/L | 0.5 |  | 0.01 | MP10: <0.5
| Dichlorvos | µg/L | 0.5 |  |  | MP10: <0.5
| Dimethoate | µg/L | 0.5 |  | 0.15 | MP10: <0.5
| Ethion | µg/L | 0.5 |  |  | MP10: <0.5
| Fenamiphos | µg/L | 0.5 |  |  | MP10: <0.5
| Fenthion | µg/L | 0.5 |  |  | MP10: <0.5
| Malathion | µg/L | 0.5 |  | 0.05 | MP10: <0.5
| Monocrotophos | µg/L | 2 |  |  | MP10: <2.0
| Parathion | µg/L | 2 |  | 0.004 | MP10: <2.0
| Parathion-methyl | µg/L | 2 |  |  | MP10: <2.0
| Pirimphos-ethyl | µg/L | 0.5 |  |  | MP10: <0.5
| Prothiofos | µg/L | 0.5 |  |  | MP10: <0.5
Organochlorine Pesticides | Aldrin | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Dieldrin | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Aldrin + Dieldrin | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| a-BHC | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| b-BHC | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| d-BHC | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| g-BHC (Lindane) | µg/L | 0.01 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| cis-Chlordane | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| trans-Chlordane | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Chlordane | µg/L | 0.01 |  | 0.08 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| DDD | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| DDE | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| DDT | µg/L | 0.01 |  | 0.01 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
| DDT+DDE+DDD | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endosulfan 1 | µg/L | 0.01 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endosulfan 2 | µg/L | 0.01 |  | 0.2 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endosulfan sulfate | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endrin | µg/L | 0.01 |  | 0.02 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endrin aldehyde | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Endrin ketone | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Heptachlor | µg/L | 0.005 |  | 0.09 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Heptachlor epoxide | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Hexachlorobenzene (HCB) | µg/L | 0.01 |  |  | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5 | <0.5
| Methoxychlor | µg/L | 0.01 |  |  | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0 | <2.0
| Total phenols | mg/L | 0.05 |  | 320 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05

## Annual (end September)
| LMCC - Awaba Waste Management Facility |  |  |  | Quarterly | Additonal yearly
Environment Protection License 5873 Quarterly water monitoring results
|  | EPL 5873 I.D. |  |  |  | MP1 | MP2 | MP3 | MP4 | MP5 | MP6 | MP7 | MP10 | MP11 | MP12 | MP14 | MP15 | MP19 | MP20 | MP21 | MP22 | MP23
| Parameter | Unit | LOR | EPL 5873 | ANZG 2000 freshwater 95% LOP
| Standing water level | m
| Total Dissolved Solids | mg/L | 10
| pH (Lab) | pH units | 0.01
| pH (probe) | pH units | 0.01
| Total Suspended Solids | mg/L | 5 | 50 @ MP6 and MP7 for discharge
Metals | Reactive Phosphate | mg/kg | 0.01
| Aluminium (Filtered) | mg/L | 0.01 |  | pH>6.5 0.055
| Arsenic (Filtered) | mg/L | 0.001 |  | 0.013
| Barium (Filtered) | mg/L | 0.001
| Cadmium (Filtered) | mg/L | 0.0001 |  | 0.002
| Chromium (Filtered) | mg/L | 0.001 |  | 0.033
| Chromium (hexavalent) (Filtered) | mg/L | 0.01 |  | 0.01
| Cobalt (Filtered) | mg/L | 0.001 |  | 0.014
| Copper (Filtered) | mg/L | 0.001 |  | 0.014
| Iron (Filtered) | µg/L | 2
| Lead (Filtered) | mg/L | 0.001 |  | 0.034
| Manganese (Filtered) | µg/L | 0.5 |  | 1.9
| Mercury (Filtered) | mg/L | 0.0001 |  | 0.006
| Nickel (filtered) | mg/L | 0.001 |  | 0.01
| Zinc (Filtered) | mg/L | 0.005 |  | 0.08
Per- and polyfluorinated alkyl substances | Perfluorooctanoic acid (PFOA) | µg/L | 0.01
| Perfluorooctane sulfonic acid (PFOS) | µg/L | 0.01
| Perfluorohexane sulfonic acid (PFHxS) | µg/L | 0.01
| Sum (PFHxS + PFOS) | µg/L | 0.01
| 4:2 Fluorotelomer sulfonic acid (4:2 FTS) | µg/L | 0.05
| 6:2 Fluorotelomer sulfonic acid (6:2 FTS) | µg/L | 0.05
| 8:2 Fluorotelomer sulfonic acid (8:2 FTS) | µg/L | 0.05
| 10:2 Fluorotelomer sulfonic acid (10:2 FTS) | µg/L | 0.05
| Perfluorobutane sulfonic acid (PFBS) | µg/L | 0.02
| Perfluorobutanoic acid (PFBA) | µg/L | 0.1
| Perfluorodecane sulfonic acid (PFDS) | µg/L | 0.02
| Perfluorodecanoic acid (PFDA) | µg/L | 0.02
| Perfluorododecanoic acid (PFDoDA) | µg/L | 0.02
| Perfluoroheptane sulfonic acid (PFHpS) | µg/L | 0.02
| Perfluoroheptanoic acid (PFHpA) | µg/L | 0.02
| Perfluorohexanoic acid (PFHxA) | µg/L | 0.02
| Perfluorononanoic acid (PFNA) | µg/L | 0.02
| Perfluorooctane sulfonamide (FOSA) | µg/L | 0.02
| Perfluoropentane sulfonic acid (PFPeS) | µg/L | 0.02
| Perfluoropentanoic acid (PFPeA) | µg/L | 0.02
| Perfluorotetradecanoic acid (PFTeDA) | µg/L | 0.05
| Perfluorotridecanoic acid (PFTrDA) | µg/L | 0.02
| Perfluoroundecanoic acid (PFUnDA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamide (EtFOSA) | µg/L | 0.05
| N-Ethyl perfluorooctane sulfonamidoacetic acid (EtFOSAA) | µg/L | 0.02
| N-Ethyl perfluorooctane sulfonamidoethanol (EtFOSE) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamide (MeFOSA) | µg/L | 0.05
| N-Methyl perfluorooctane sulfonamidoacetic acid (MeFOSAA) | µg/L | 0.02
| N-Methyl perfluorooctane sulfonamidoethanol (MeFOSE) | µg/L | 0.05
| Sum of PFAS | µg/L | 0.01
Total Petroleum Hydrocarbons | C6-C9 fraction | µg/L | 20
| C10-C14 fraction | µg/L | 50
| C15-C28 fraction | µg/L | 100
| C29-C36 fraction | µg/L | 50
| C10-C36 fraction (sum) | µg/L | 50
Total Recoverable Hydrocarbons | C6-C10 fraction | µg/L | 20 | bar: MP10
| C6-C10 fraction (minus BTEX)(F1) | µg/L | 20 | bar: MP10
| >C10-C16 (minus Naphthalene)(F2) | µg/L | 100 | bar: MP10
| >C10-C16 fraction | µg/L | 100 | bar: MP10
| >C16-C34 fraction | µg/L | 100 | bar: MP10
| >C34-C40 fraction | µg/L | 100 | bar: MP10
| >C10-C40 fraction (sum) | µg/L | 100 | bar: MP10
Major Ions | Chloride | mg/L | 1
| Calcium (Filtered) | mg/L | 1
| Fluoride | mg/L | 0.1
| Magnesium (Filtered) | mg/L | 1
| Potassium (Filtered) | mg/L | 1
| Sodium (Filtered) | mg/L | 1
| Total Anions | meq/L | 0.01
| Total Cations | meq/L | 0.01
| Sulfate (as SO4-) (Filtered) | mg/L | 1
| Ionic Balance | % | 0.01
Nutrients | Ammonia (as N) | mg/L | 0.01 |  | 0.9
| Nitrate (as N) | mg/L | 0.01
| Nitrite (as N) | mg/L | 0.01
| Nitrite + Nitrate as N | mg/L | 0.01
| Total phosphorus | mg/L | 0.01
| Polychlorinated Biphenyls (PCB) | µg/L | 1
BTEX | Benzene | µg/L | 5 |  | 950
| Toluene | µg/L | 1 |  | 180
| Ethylbenzene | µg/L | 2 |  | 80
| m&p-Xylene | µg/L | 2 |  | 180
| o-Xylene | µg/L | 2 |  | 350
| Total Xylenes | µg/L | 2
| Total BTEX | µg/L | 2
Monocyclic Aromatic Hydrocarbons | Naphthalene (used F2 calc) | µg/L | 5 |  | 16
| Styrene | µg/L | 5
| Isopropylbenzene | µg/L | 5 |  | 30
| n-butylbenzene | µg/L | 5
| n-propylbenzene | µg/L | 5
| p-isopropyltoluene | µg/L | 5
| sec-butylbenzene | µg/L | 5
| tert-butylbenzene | µg/L | 5
| 1,2,4-trimethylbenzene | µg/L | 5
| 1,3,5-trimethylbenzene | µg/L | 1
Polynuclear Aromatic Hydrocarbons | Benzo(a)pyrene TEQ calc (Zero) | µg/L | 0.5 |  | 0.2
| Naphthalene | µg/L | 1
| Acenaphthylene | µg/L | 1
| Acenaphthene | µg/L | 1
| Anthracene | µg/L | 1 |  | 0.4
| Fluorene | µg/L | 1
| Phenanthrene | µg/L | 1
| Fluoranthene | µg/L | 1 |  | 1.4
| Benz(a)anthracene | µg/L | 1
| Benzo(k)fluoranthene | µg/L | 1
| Benzo(b&j)fluoranthene | µg/L | 1
| Benzo(a)pyrene | µg/L | 0.5
| Chrysene | µg/L | 1
| Pyrene | µg/L | 1
| Benzo(g,h,i)perylene | µg/L | 1
| Dibenz(a,h)anthracene | µg/L | 1
| Indeno(1,2,3-cd)pyrene | µg/L | 1
| Sum of PAHs | µg/L | 0.5
Phenols | 3/4-Methylphenol (m/p-cresol) | µg/L | 2
| Phenol | µg/L | 1 |  | 320
| 2-Chlorophenol | µg/L | 1 |  | 490
| 2-Methylphenol (o-Cresol) | µg/L | 1
| 2-Nitrophenol | µg/L | 1
| 2,4-Dichlorophenol | µg/L | 1
| 2,4-Dimethylphenol | µg/L | 1
| 2,6-Dichlorophenol | µg/L | 1
| 4-Chloro-3-methylphenol | µg/L | 1
| 2,4,6-Trichlorophenol | µg/L | 1 |  | 20
| 2,4,5-Trichlorophenol | µg/L | 1
| Pentachlorophenol | µg/L | 2 |  | 10
| Sum of Phenols | µg/L | 50
Fumigants | 1,2-Dibromoethane (EDB) | µg/L | 5
| 1,2-Dichloropropane | µg/L | 5
| 2,2-Dichloropropane | µg/L | 5
| cis-1,3-Dichloropropene | µg/L | 5
| trans-1,3-Dichloropropene | µg/L | 5
Halogenated Aromatic Compounds | Bromobenzene | µg/L | 5
| Chlorobenzene | µg/L | 5
| 2-Chlorotoluene | µg/L | 5
| 4-Chlorotoluene | µg/L | 5
| 1,2-Dichlorobenzene | µg/L | 5 |  | 160
| 1,3-Dichlorobenzene | µg/L | 5 |  | 260
| 1,4-Dichlorobenzene | µg/L | 5 |  | 60
| 1,2,3-Trichlorobenzene | µg/L | 5 |  | 10
| 1,2,4-Trichlorobenzene | µg/L | 5 |  | 170
Halogenated Alphiatic Compounds | Dichlorodifluoromethane (Freon 12) | µg/L | 50
| Chloromethane | µg/L | 50
| Vinyl chloride | µg/L | 50
| Bromomethane | µg/L | 50
| Chloroethane | µg/L | 50
| Trichlorofluoromethane (Freon 11) | µg/L | 50
| Iodomethane | µg/L | 5
| 1,1-Dichloroethane | µg/L | 5
| cis-1,2-Dichloroethene | µg/L | 5 |  | 1900
| trans-1,2-Dichloroethene | µg/L | 5 |  | 1900
| 1,1,1-Trichloroethane | µg/L | 5
| 1,1-Dichloropropene | µg/L | 5 |  | 500
| Carbon Tetrachloride | µg/L | 5
| 1,2-Dichloroethane | µg/L | 5
| Trichloroethene | µg/L | 5
| Dibromomethane | µg/L | 5
| 1,1,2-Trichloroethane | µg/L | 5 |  | 6800
| 1,3-Dichloropropane | µg/L | 5 |  | 1100
| Tetrachloroethene | µg/L | 5
| 1,1,1,2-Tetrachloroethane | µg/L | 5
| trans-1,4-Dichloro-2-butene | µg/L | 5
| cis-1,4-Dichloro-2-butene | µg/L | 5
| 1,1,2,2-Tetrachloroethane | µg/L | 5
| 1,2,3-Trichloropropane | µg/L | 5
| Pentachloroethane | µg/L | 5
| 1,2-Dibromo-3-chloropropane | µg/L | 5
| Hexachlorobutadiene | µg/L | 5
Trihalomethanes | Bromodichloromethane | µg/L | 5
| Bromoform | µg/L | 5
| Chloroform | µg/L | 5
| Dibromochloromethane | µg/L | 5
| Total Organic Carbon | mg/L | 1
| Electrical conductivity (probe) | µS/cm | 1
| Electrical conductivity (lab) | µS/cm | 1
| Biological Oxygen Demand | mg/L | 2
Alkalinity | Bicarbonate Alkalinity as CaCO3 | mg/L | 1
| Hydroxide Alkalinity as CaCO3 | mg/L | 1
| Total Alkalinity as CaCO3 | mg/L | 1
| Polychlorinated Biphenyls | µg/L | 1
Oxygentated Compounds | Vinyl acetate | µg/L | 50
| 2-Butanone (MEK) | µg/L | 50
| 2-hexanone (MBK) | µg/L | 50
| 4-Methyl-2-pentanone (MIBK) | µg/L | 50
| Carbon disulfide | µg/L | 5
Organophosphorus Pesticides | Azinphos Methyl | µg/L | 0.5 |  | 0.02
| Bromophos-ethyl | µg/L | 0.5
| Carbophenothion | µg/L | 0.5
| Chlorfenvinphos | µg/L | 0.5
| Chlorpyrifos | µg/L | 0.5 |  | 0.01
| Chlorpyrifos-methyl | µg/L | 0.5
| Demeton-S-methyl | µg/L | 0.5
| Diazinon | µg/L | 0.5 |  | 0.01
| Dichlorvos | µg/L | 0.5
| Dimethoate | µg/L | 0.5 |  | 0.15
| Ethion | µg/L | 0.5
| Fenamiphos | µg/L | 0.5
| Fenthion | µg/L | 0.5
| Malathion | µg/L | 0.5 |  | 0.05
| Monocrotophos | µg/L | 2
| Parathion | µg/L | 2 |  | 0.004
| Parathion-methyl | µg/L | 2
| Pirimphos-ethyl | µg/L | 0.5
| Prothiofos | µg/L | 0.5
Organochlorine Pesticides | Aldrin | µg/L | 0.01
| Dieldrin | µg/L | 0.01
| Aldrin + Dieldrin | µg/L | 0.01
| a-BHC | µg/L | 0.01
| b-BHC | µg/L | 0.01
| d-BHC | µg/L | 0.01
| g-BHC (Lindane) | µg/L | 0.01 |  | 0.2
| cis-Chlordane | µg/L | 0.01
| trans-Chlordane | µg/L | 0.01
| Chlordane | µg/L | 0.01 |  | 0.08
| DDD | µg/L | 0.01
| DDE | µg/L | 0.01
| DDT | µg/L | 0.01 |  | 0.01
| DDT+DDE+DDD | µg/L | 0.01
| Endosulfan 1 | µg/L | 0.01 |  | 0.2
| Endosulfan 2 | µg/L | 0.01 |  | 0.2
| Endosulfan sulfate | µg/L | 0.01
| Endrin | µg/L | 0.01 |  | 0.02
| Endrin aldehyde | µg/L | 0.01
| Endrin ketone | µg/L | 0.01
| Heptachlor | µg/L | 0.005 |  | 0.09
| Heptachlor epoxide | µg/L | 0.01
| Hexachlorobenzene (HCB) | µg/L | 0.01
| Methoxychlor | µg/L | 0.01
| Total phenols | mg/L | 0.05 |  | 320