{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Chemistry Output Table"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":9,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Chemistry Output Table","index":0,"n_rows":53,"n_cols":228,"rows_kept":53,"cut":false,"hidden":false,"merged":[[49,0,52,0],[32,0,32,3],[9,0,9,3],[8,0,8,3],[31,0,31,3],[45,0,46,0],[27,0,30,0],[33,0,36,0],[37,0,40,0],[41,0,44,0],[2,184,2,202],[2,203,2,226],[11,0,14,0],[15,0,18,0],[23,0,26,0],[19,0,22,0],[2,131,2,139],[2,140,2,167],[2,168,2,171],[2,172,2,173],[2,175,2,177],[2,179,2,182],[2,64,2,73],[2,74,2,77],[2,78,2,94],[2,95,2,112],[2,0,3,3],[2,113,2,125],[2,126,2,130],[2,4,2,5],[2,6,2,18],[2,19,2,48],[2,49,2,51],[2,52,2,56],[2,57,2,63]]}
[]
[]
["2023 Annual Return",null,null,null,null,null,"Metals",null,null,null,null,null,null,null,null,null,null,null,null,"Per- and Poly-fluoroalkyl Substances",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Physio-Chemical Parameters",null,null,"Total Petroleum Hydrocarbons",null,null,null,null,"Total Recoverable Hydrocarbons",null,null,null,null,null,null,"Major Ions",null,null,null,null,null,null,null,null,null,"Nutrients",null,null,null,"Monocyclic Aromatic Hydrocarbons",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Polynuclear Aromatic Hydrocarbons",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Phenolic Compounds",null,null,null,null,null,null,null,null,null,null,null,null,"Fumigants",null,null,null,null,"Halogenated Aromatic Compounds",null,null,null,null,null,null,null,null,"Halogenated Aliphatic Compounds",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Trihalomethanes",null,null,null,"Physico-Chemical Parameters",null,"Bulk Organics","Alkalinity",null,null,"Polychlorinated Biphenyls","Oxygenated Compounds",null,null,null,"Sulfonated Compounds","Organophosphorus Pesticides (OP)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Organochlorine Pesticides (OC)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Inorganics"]
[null,null,null,null,"Reactive Phosphate","Sum of WA DWER PFAS (n=10)*","Aluminium (Filtered)","Arsenic (Filtered)","Barium (Filtered)","Cadmium (Filtered)","Chromium (Filtered)","Chromium (hexavalent) (Filtered)","Cobalt (Filtered)","Copper (Filtered)","Iron (Filtered)","Lead (Filtered)","Manganese (Filtered)","Mercury (Filtered)","Zinc (Filtered)","Perfluorooctanoic acid  (PFOA)","Perfluorooctane sulfonic acid (PFOS)","Perfluorohexane sulfonic acid (PFHxS)","Sum (PFHxS + PFOS)","4:2 Fluorotelomer sulfonic acid (4:2 FTS)","6:2 Fluorotelomer sulfonic acid (6:2 FTS)","8:2 Fluorotelomer sulfonic acid (8:2 FTS)","10:2 Fluorotelomer sulfonic acid (10:2 FTS)","Perfluorobutane sulfonic acid (PFBS)","Perfluorobutanoic acid (PFBA)","Perfluorodecane sulfonic acid (PFDS)","Perfluorodecanoic acid (PFDA)","Perfluorododecanoic acid (PFDoDA)","Perfluoroheptane sulfonic acid (PFHpS)","Perfluoroheptanoic acid (PFHpA)","Perfluorohexanoic acid (PFHxA)","Perfluorononanoic acid (PFNA)","Perfluorooctane sulfonamide (FOSA)","Perfluoropentane sulfonic acid (PFPeS)","Perfluoropentanoic acid (PFPeA)","Perfluorotetradecanoic acid (PFTeDA)","Perfluorotridecanoic acid (PFTrDA)","Perfluoroundecanoic acid (PFUnDA)","N-Ethyl perfluorooctane sulfonamide  (EtFOSA)","N-Ethyl perfluorooctane sulfonamidoacetic acid (EtFOSAA)","N-Ethyl perfluorooctane sulfonamidoethanol (EtFOSE)","N-Methyl perfluorooctane sulfonamide (MeFOSA)","N-Methyl perfluorooctane sulfonamidoacetic acid (MeFOSAA)","N-Methyl perfluorooctane sulfonamidoethanol (MeFOSE)","Sum of PFAS","Total Dissolved Solids","pH (Lab)","Total Suspended Solids","C6-C9 fraction","C10-C14 fraction","C15-C28 fraction","C29-C36 fraction","C10-C36 fraction (sum)","C6-C10 fraction","C6-C10 fraction (minus BTEX)(F1)",">C10-C16 (minus Naphthalene)(F2)",">C10-C16 fraction",">C16-C34 fraction",">C34-C40 fraction",">C10-C40 fraction (sum)","Chloride","Calcium (Filtered)","Fluoride","Magnesium (Filtered)","Potassium (Filtered)","Sodium (Filtered)","Total Anions","Total Cations","Sulfate (as SO4-) (Filtered)","Ionic Balance","Ammonia (as N)","Nitrate (as N)","Nitrite (as N)","Nitrite + Nitrate as N","Naphthalene (used F2 calc)","Benzene","Toluene","Ethylbenzene","m&p-Xylene","o-Xylene","Total Xylenes","Styrene","Isopropylbenzene","n-butylbenzene","n-propylbenzene","p-isopropyltoluene","sec-butylbenzene","tert-butylbenzene","1,2,4-trimethylbenzene","1,3,5-trimethylbenzene","Total BTEX","Benzo(a)pyrene TEQ calc (Zero)","Naphthalene","Acenaphthylene","Acenaphthene","Anthracene","Fluorene","Phenanthrene","Fluoranthene","Benz(a)anthracene","Benzo(k)fluoranthene","Benzo(b&j)fluoranthene","Benzo(a)pyrene","Chrysene","Pyrene","Benzo(g,h,i)perylene","Dibenz(a,h)anthracene","Indeno(1,2,3-cd)pyrene","Sum of PAHs","3/4-Methylphenol (m/p-cresol)","Phenol","2-Chlorophenol","2-Methylphenol (o-Cresol)","2-Nitrophenol","2,4-Dichlorophenol","2,4-Dimethylphenol","2,6-Dichlorophenol","4-Chloro-3-methylphenol","2,4,6-Trichlorophenol","2,4,5-Trichlorophenol","Pentachlorophenol","Sum of Phenols","1,2-Dibromoethane (EDB)","1,2-Dichloropropane","2,2-Dichloropropane","cis-1,3-Dichloropropene","trans-1,3-Dichloropropene","Bromobenzene","Chlorobenzene","2-Chlorotoluene","4-Chlorotoluene","1,2-Dichlorobenzene","1,3-Dichlorobenzene","1,4-Dichlorobenzene","1,2,3-Trichlorobenzene","1,2,4-Trichlorobenzene","Dichlorodifluoromethane (Freon 12)","Chloromethane","Vinyl chloride","Bromomethane","Chloroethane","Trichlorofluoromethane (Freon 11)","1,1-Dichloroethene","Iodomethane","1,1-Dichloroethane","cis-1,2-Dichloroethene","trans-1,2-Dichloroethene","1,1,1-Trichloroethane","1,1-Dichloropropene","Carbon Tetrachloride","1,2-Dichloroethane","Trichloroethene","Dibromomethane","1,1,2-Trichloroethane","1,3-Dichloropropane","Tetrachloroethene","1,1,1,2-Tetrachloroethane","trans-1,4-Dichloro-2-butene","cis-1,4-Dichloro-2-butene","1,1,2,2-Tetrachloroethane","1,2,3-Trichloropropane","Pentachloroethane","1,2-Dibromo-3-chloropropane","Hexachlorobutadiene","Bromodichloromethane","Bromoform","Chloroform","Dibromochloromethane","Total Organic Carbon","Electrical conductivity (lab)","Biological Oxygen Demand","Bicarbonate Alkalinity as CaCO3","Hydroxide Alkalinity as CaCO3","Total Alkalinity as CaCO3","Polychlorinated Biphenyls","Vinyl acetate","2-Butanone (MEK)","2-hexanone (MBK)","4-Methyl-2-pentanone (MIBK)","Carbon disulfide","Azinphos Methyl","Bromophos-ethyl","Carbophenothion","Chlorfenvinphos","Chlorpyrifos","Chlorpyrifos-methyl","Demeton-S-methyl","Diazinon","Dichlorvos","Dimethoate","Ethion","Fenamiphos","Fenthion","Malathion","Monocrotophos","Parathion","Parathion-methyl","Pirimphos-ethyl","Prothiofos","Aldrin","Dieldrin","Aldrin + Dieldrin","a-BHC","b-BHC","d-BHC","g-BHC (Lindane)","cis-Chlordane","trans-Chlordane","Chlordane","DDD","DDE","DDT","DDT+DDE+DDD","Endosulfan 1","Endosulfan 2","Endosulfan sulfate","Endrin","Endrin aldehyde","Endrin ketone","Heptachlor","Heptachlor epoxide","Hexachlorobenzene (HCB)","Methoxychlor","Carbonate Alkalinity (as CaCO3)"]
[null,null,null,null,"mg/kg","UG/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","mg/L","pH Units","mg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","mg/L","mg/L","mg/L","mg/L","mg/L","mg/L","meq/L","meq/L","mg/L","%","mg/L","mg/L","mg/L","mg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","mg/L","µS/cm","mg/L","mg/L","mg/L","mg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","µg/L","mg/L"]
["EQL",null,null,null,0.01,0.01,0.01,1E-3,1E-3,1E-4,1E-3,0.01,1E-3,1E-3,2E-3,1E-3,5.0000000000000001E-4,1E-4,5.0000000000000001E-3,0.01,0.01,0.01,0.01,0.05,0.05,0.05,0.05,0.02,0.1,0.02,0.02,0.02,0.02,0.02,0.02,0.02,0.02,0.02,0.02,0.05,0.02,0.02,0.05,0.02,0.05,0.05,0.02,0.05,0.01,10,0.01,5,20,50,100,50,50,20,20,100,100,100,100,100,1,1,0.1,1,1,1,0.01,0.01,1,0.01,0.01,0.01,0.01,0.01,5,1,2,2,2,2,2,5,5,5,5,5,5,5,5,5,1,0.5,1,1,1,1,1,1,1,1,1,1,0.5,1,1,1,1,1,0.5,2,1,1,1,1,1,1,1,1,1,1,2,50,5,5,5,5,5,5,5,5,5,5,5,5,5,5,50,50,50,50,50,50,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,5,1,1,2,1,1,1,1,50,50,50,50,5,0.5,0.5,0.5,0.5,0.5,0.5,0.5,0.5,0.5,0.5,0.5,0.5,0.5,0.5,2,2,2,0.5,0.5,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,0.01,5.0000000000000001E-3,0.01,0.01,0.01,1]
["ANZG (2018) Freshwater 95% LOSP Toxicant DGVs",null,null,null,null,null,"0.055",null,null,"0.0002",null,"0.001",null,"0.0014",null,"0.0034","1.9","0.0006","0.008",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"0.9","2.4",null,null,null,"950","180","80",null,"350",null,null,"30",null,null,null,null,null,null,null,null,null,"16",null,null,"0.4",null,"2","1.4",null,null,null,"0.2",null,null,null,null,null,null,null,"320","490",null,null,"160",null,null,null,"20",null,"10",null,null,"900",null,null,null,null,"55",null,null,"160","260","60","10","170",null,null,"100",null,null,null,"700",null,null,null,null,"270",null,"240","1900","330",null,"6500","1100","70",null,null,null,"400",null,"80",null,null,null,null,"770",null,null,null,null,null,null,null,null,null,null,null,null,null,"0.02",null,null,null,"0.01",null,null,"0.01",null,"0.15",null,null,null,"0.05",null,"0.004",null,null,null,null,null,null,null,null,null,"0.2",null,null,"0.08",null,null,"0.01",null,null,null,null,"0.02",null,null,"0.09",null,"0.1"]
[]
["EPL Sample Requirement",null,null,null,1,null,1,1,1,1,1,1,1,1,4,1,4,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,4,null,1,1,1,1,1,1,1,1,1,1,1,1,4,4,4,4,4,4,null,null,4,null,4,4,null,null,null,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,4,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,null,null,null,null,4,4,1,4,4,4,1,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4]
["Samples Collected",null,null,null,1,null,1,1,1,1,1,1,1,1,4,1,4,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,4,null,1,1,1,1,1,1,1,1,1,1,1,1,4,4,4,4,4,4,null,null,4,null,4,4,null,null,null,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,3,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,null,null,null,null,4,4,1,4,4,4,1,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4]
["Location_Code","Monitoring_Round","Sampled_Date_Time","Lab_Report_Number"]
["Site 1","2023-03","2023-03-23T11:00:00","ES2309639"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","5.47"," - ","1.72"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","6.16"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","343","15","0.3","40","10","153","12.2","11","30","5.55","0.11","0.03","<0.01","0.03"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<2","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","5","1180"," - ","97","<1","97"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-07","2023-07-12T11:30:00","ES2323181"," - ","<0.01"," - "," - "," - "," - "," - "," - "," - "," - ","10.3"," - ","1.91"," - "," - ","<0.01","<0.01","<0.01","<0.01","<0.05","<0.05","<0.05","<0.05","<0.02","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","<0.01"," - ","6.09"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","350","15","0.4","39","10","150","12.4","10.7","30","7.08","0.22","<0.01"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","4","1200"," - ","94","<1","94"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-08","2023-08-16T08:50:00","ES2327616"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","13"," - ","1.86"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","6.14"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","352","16","0.3","43","10","166","12.6","11.8","28","3.42","0.08","<0.01"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","2","1250"," - ","107","<1","107"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-09","2023-09-26T15:00:00","ES2332954","<0.01","<0.01","<0.01","<0.001","0.158","<0.0001","<0.001","<0.01","0.026","<0.001","7.48","<0.001","1.96","<0.0001","0.022","<0.01","<0.01","<0.01","<0.01","<0.05","<0.05","<0.05","<0.05","<0.02","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","<0.01","720","5.97"," - ","<20","<50","<100","<50","<50","<20","<20","<100","<100","<100","<100","<100","360","16","0.3","42","10","168","12.5","11.8","32","2.96","0.03","<0.01"," - "," - ","<5","<1","<2","<2","<2","<2","<2","<5","<5","<5","<5","<5","<5","<5","<5","<5","<1","<0.5","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<0.5","<1","<1","<1","<1","<1","<0.5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<50","<50","<50","<50","<50","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","11","1300","<2","86","<1","86","<1","<50","<50","<50","<50","<5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<2","<2","<0.5","<0.5","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.005","<0.01","<0.01","<0.01","<1"]
["Site 2","2023-03","2023-03-22T11:15:00","ES2309639"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","0.013"," - ","0.0111"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","5.08"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","197","<1","0.3","3","3","159","7.38","7.24","84","1","0.01","0.09","<0.01","0.09"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<2","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","6","857"," - ","4","<1","4"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-07","2023-07-12T10:00:00","ES2323181"," - ","0.35"," - "," - "," - "," - "," - "," - "," - "," - ","0.025"," - ","0.109"," - "," - ","0.02","<0.01","0.1","0.1","<0.05","<0.05","<0.05","<0.05","0.11","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","0.07","<0.02","<0.02","0.03","0.05","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.38"," - ","4.89"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","568","3","0.8","24","6","349","19.8","17.4","174","6.3","0.36","0.06"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","6","1910"," - ","8","<1","8"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-08","2023-08-16T11:20:00","ES2327616"," - ","0.42"," - "," - "," - "," - "," - "," - "," - "," - ","0.624"," - ","0.19"," - "," - ","0.02","<0.01","0.11","0.11","<0.05","<0.05","<0.05","<0.05","0.12","<0.1","<0.02","<0.02","<0.02","<0.02","0.02","0.09","<0.02","<0.02","0.03","0.06","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.45"," - ","4.95"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","731","5","1.6","37","7","429","25.1","22.1","210","6.26","0.06","0.03"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","4","2550"," - ","5","<1","5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-09","2023-09-26T15:00:00","ES2332954","<0.01","0.31","0.47","<0.001","0.021","<0.0001","<0.001","<0.01","0.009","<0.001","0.57","<0.001","0.173","<0.0001","0.03","0.02","<0.01","0.1","0.1","<0.05","<0.05","<0.05","<0.05","0.08","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","0.06","<0.02","<0.02","<0.02","0.05","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.31","2270","5.07"," - ","<20","<50","<100","<50","<50","<20","<20","<100","<100","<100","<100","<100","504","3","1.1","23","6","355","18","17.6","170","0.95","0.12","0.08"," - "," - ","<5","<1","<2","<2","<2","<2","<2","<5","<5","<5","<5","<5","<5","<5","<5","<5","<1","<0.5","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<0.5","<1","<1","<1","<1","<1","<0.5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<50","<50","<50","<50","<50","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","11","2440","<2","11","<1","11","<1","<50","<50","<50","<50","<5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<2","<2","<0.5","<0.5","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.005","<0.01","<0.01","<0.01","<1"]
["Site 3","2023-03","2023-03-22T13:45:00","ES2309639"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","0.06"," - ","0.247"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","6.84"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","116","44","0.3","23","28","100","10","9.15","11","4.49","9.16","<0.01","<0.01","<0.01"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<2","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","22","999"," - ","326","<1","326"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-07","2023-07-12T10:00:00","ES2323181"," - ","0.42"," - "," - "," - "," - "," - "," - "," - "," - ","2.73"," - ","0.45"," - "," - ","0.04","0.03","0.08","0.11","<0.05","<0.05","<0.05","<0.05","0.16","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","0.07","<0.02","<0.02","<0.02","0.04","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.42"," - ","6.89"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","84","75","0.4","29","23","68","10.2","9.68","10","2.88","5.75","0.02"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","16","916"," - ","384","<1","384"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-08","2023-08-16T10:55:00","ES2327616"," - ","0.4"," - "," - "," - "," - "," - "," - "," - "," - ","2.29"," - ","0.334"," - "," - ","0.04","0.04","0.09","0.13","<0.05","<0.05","<0.05","<0.05","0.12","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","0.07","<0.02","<0.02","<0.02","0.04","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.4"," - ","6.76"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","122","56","0.4","28","24","84","10.1","9.37","13","3.8","7.84","<0.01"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","15","961"," - ","320","<1","320"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-09","2023-09-26T15:00:00","ES2332954","<0.01","1.11","<0.01","<0.001","0.305","<0.0001","0.002","<0.01","0.001","<0.001","16.6","<0.001","0.452","<0.0001","<0.005","0.08","0.04","0.24","0.28","<0.05","<0.05","<0.05","<0.05","0.29","0.1","<0.02","<0.02","<0.02","<0.02","0.05","0.21","<0.02","<0.02","0.02","0.1","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","1.13","1830","6.42"," - ","<20","<50","<100","<50","<50","<20","<20","<100","<100","<100","<100","<100","677","68","0.2","62","39","331","28.2","25.5","<10","5.04","22.3","<0.01"," - "," - ","<5","<1","<2","<2","<2","<2","<2","<5","<5","<5","<5","<5","<5","<5","<5","<5","<1","<0.5","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<0.5","<1","<1","<1","<1","<1","<0.5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<50","<50","<50","<50","<50","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","49","3160","8","454","<1","454","<1","<50","<50","<50","<50","<5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<2","<2","<0.5","<0.5","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.005","<0.01","<0.01","<0.01","<1"]
["Site 4","2023-03","2023-03-22T13:30:00","ES2309639"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","15.9"," - ","0.32"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","6.6"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","77","38","0.3","15","14","70","6.31","6.53","<10","1.76","3.6","<0.1","<0.1","<0.1"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<2","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","80","611"," - ","207","<1","207"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-07","2023-07-12T10:00:00","ES2323181"," - ","0.64"," - "," - "," - "," - "," - "," - "," - "," - ","406"," - ","5.27"," - "," - ","0.03","0.04","0.18","0.22","<0.05","<0.05","<0.05","<0.05","0.17","<0.1","<0.02","<0.02","<0.02","<0.02","0.02","0.09","<0.02","<0.02","0.03","0.11","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.67"," - ","6.32"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","413","59","0.2","34","16","176","15.9","13.8","9","7.09","1.5","0.05"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","40","1470"," - ","204","<1","204"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-08","2023-08-16T10:45:00","ES2327616"," - ","0.89"," - "," - "," - "," - "," - "," - "," - "," - ","11.6"," - ","0.465"," - "," - ","0.06","0.2","0.4","0.6","<0.05","<0.05","<0.05","<0.05","0.21","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","0.02","<0.02","<0.02","0.04","<0.02","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.93"," - ","6.44"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","78","64","0.3","20","14","77","7.75","8.55","22","4.87","1.67","<0.1"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","97","744"," - ","255","<1","255"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-09","2023-09-26T15:00:00","ES2332954","0.15","0.51","0.03","0.005","0.136","<0.0001","0.001","<0.01","0.001","<0.001","22.9","<0.001","0.511","<0.0001","<0.005","0.04","0.05","0.17","0.22","<0.05","<0.05","<0.05","<0.05","0.13","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","0.06","<0.02","<0.02","0.02","0.06","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.53","793","6.37"," - ","<20","<50","<100","<50","<50","<20","<20","<100","<100","<100","<100","<100","244","56","0.2","24","12","116","12.1","10.1","9","9.08","1.88","<0.01"," - "," - ","<5","<1","<2","<2","<2","<2","<2","<5","<5","<5","<5","<5","<5","<5","<5","<5","<1","<0.5","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<0.5","<1","<1","<1","<1","<1","<0.5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<50","<50","<50","<50","<50","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","66","1200","10","254","<1","254","<1","<50","<50","<50","<50","<5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<2","<2","<0.5","<0.5","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.005","<0.01","<0.01","<0.01","<1"]
["Site 5","2023-03","2023-03-22T13:00:00","ES2309639"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","2.49"," - ","0.499"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","6.1"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","1280","20","0.6","84","17","828","42.6","44.4","185","2.01","0.22","0.2","0.04","0.24"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<2","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","8","4900"," - ","133","<1","133"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-07","2023-07-12T10:00:00","ES2323181"," - ","0.37"," - "," - "," - "," - "," - "," - "," - "," - ","0.014"," - ","0.606"," - "," - ","0.02","<0.01","0.13","0.13","<0.05","<0.05","<0.05","<0.05","0.1","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","0.08","<0.02","<0.02","0.02","0.04","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.39"," - ","5.84"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","1790","24","0.7","103","18","1030","58.6","54.9","267","3.2","0.45","0.05"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","4","6100"," - ","126","<1","126"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-08","2023-08-16T11:30:00","ES2327616"," - ","0.42"," - "," - "," - "," - "," - "," - "," - "," - ","0.599"," - ","0.553"," - "," - ","0.02","<0.01","0.14","0.14","<0.05","<0.05","<0.05","<0.05","0.12","<0.1","<0.02","<0.02","<0.02","<0.02","0.02","0.08","<0.02","<0.02","0.03","0.04","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.45"," - ","5.85"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","1740","24","0.7","112","18","1100","57.1","58.7","260","1.41","0.17","0.01"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","14","5940"," - ","130","<1","130"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-09","2023-09-26T15:00:00","ES2332954","<0.01","0.29","<0.01","<0.001","0.013","<0.0001","<0.001","<0.01","0.001","<0.001","0.218","<0.001","0.609","<0.0001","0.019","0.02","<0.01","0.11","0.11","<0.05","<0.05","<0.05","<0.05","0.07","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","0.06","<0.02","<0.02","0.03","0.03","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.32","3570","5.77"," - ","<20","<50","<100","<50","<50","<20","<20","<100","<100","<100","<100","<100","1720","27","0.7","107","17","1070","56.4","57.1","254","0.66","0.31","0.01"," - "," - ","<5","<1","<2","<2","<2","<2","<2","<5","<5","<5","<5","<5","<5","<5","<5","<5","<1","<0.5","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<0.5","<1","<1","<1","<1","<1","<0.5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<50","<50","<50","<50","<50","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","14","6370","<2","129","<1","129","<1","<50","<50","<50","<50","<5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<2","<2","<0.5","<0.5","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.005","<0.01","<0.01","<0.01","<1"]
["EPL Sample Requirement",null,null,null,1,null,1,1,1,1,1,1,1,1,4,1,4,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,4,4,1,1,1,1,1,1,1,1,1,1,1,1,4,4,4,4,4,4,null,null,4,null,4,4,null,null,null,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,4,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,null,null,null,null,4,4,1,4,4,4,1,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4]
["Samples Collected",null,null,null,1,null,1,1,1,1,1,1,1,1,4,1,4,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,4,4,1,1,1,1,1,1,1,1,1,1,1,1,4,4,4,4,4,4,null,null,4,null,4,4,null,null,null,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,null,null,null,null,null,null,null,null,null,null,null,null,3,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,null,null,null,null,4,4,1,4,4,4,1,null,null,null,null,null,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4]
["Site 6","2023-04","2023-04-04T08:45:00","ES2311136"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","0.076"," - ","0.0411"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","7.43","17"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","40","15","0.2","9","16","34","3.31","3.38","25","1.05","0.06","0.48","0.1","0.58"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<2","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","13","338"," - ","83","<1","83"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-07","2023-07-12T12:00:00","ES2323181"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","0.098"," - ","0.028"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","7.44","16"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","51","18","0.2","10","17","34","3.66","3.63","34","0.41","0.32","0.18"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","12","367"," - ","76","<1","76"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-08","2023-08-16T08:30:00","ES2327616"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","0.173"," - ","0.0021"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","7.58","14"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","57","17","0.2","10","15","36","3.71","3.62","31","1.24","0.02","0.05"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","12","362"," - ","73","<1","73"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-09","2023-09-26T15:00:00","ES2332954","<0.01","0.2","0.02","<0.001","0.058","<0.0001","<0.001","<0.01","<0.001","0.002","0.161","<0.001","0.0119","<0.0001","<0.005","0.04","0.02","0.04","0.06","<0.05","<0.05","<0.05","<0.05","0.02","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","0.04","<0.02","<0.02","<0.02","0.04","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.2","281","7.78","12","<20","<50","<100","<50","<50","<20","<20","<100","<100","<100","<100","<100","47","17","0.2","10","16","36","3.59","3.65","35","0.74","<0.01","<0.01"," - "," - ","<5","<1","<2","<2","<2","<2","<2","<5","<5","<5","<5","<5","<5","<5","<5","<5","<1","<0.5","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<0.5","<1","<1","<1","<1","<1","<0.5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<50","<50","<50","<50","<50","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","15","402","<2","77","<1","77","<1","<50","<50","<50","<50","<5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<2","<2","<0.5","<0.5","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.005","<0.01","<0.01","<0.01","<1"]
["Site 7","2023-04","2023-04-04T09:05:00","ES2311136"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","0.075"," - ","0.0335"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","7.41","38"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","72","29","0.2","13","19","56","5.2","5.44","37","2.25","0.26","2.04","0.24","2.28"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<2","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","19","515"," - ","120","<1","120"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-07","2023-07-12T10:30:00","ES2323181"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","0.064"," - ","0.116"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","7.42","19"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","82","34","0.3","13","17","55","5.86","5.59","35","2.32","0.41","0.49"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","17","547"," - ","141","<1","141"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-08","2023-08-16T08:00:00","ES2327616"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","0.068"," - ","0.0646"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","7.39","20"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","80","34","0.3","13","16","53","5.66","5.48","31","1.6","0.28","0.67"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","15","513"," - ","138","<1","138"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-09","2023-09-26T15:00:00","ES2332954","<0.01","0.44","<0.01","0.001","0.072","<0.0001","<0.001","<0.01","<0.001","<0.001","0.124","<0.001","0.086","<0.0001","<0.005","0.07","0.02","0.05","0.07","<0.05","<0.05","<0.05","<0.05","0.11","<0.1","<0.02","<0.02","<0.02","<0.02","0.03","0.09","<0.02","<0.02","<0.02","0.07","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.44","326","7.58","17","<20","<50","<100","<50","<50","<20","<20","<100","<100","<100","<100","<100","61","34","0.3","12","16","53","5.24","5.4","30","1.47","0.36","0.15"," - "," - ","<5","<1","<2","<2","<2","<2","<2","<5","<5","<5","<5","<5","<5","<5","<5","<5","<1","<0.5","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<0.5","<1","<1","<1","<1","<1","<0.5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<50","<50","<50","<50","<50","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","21","557","<2","145","<1","145","<1","<50","<50","<50","<50","<5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<2","<2","<0.5","<0.5","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.005","<0.01","<0.01","<0.01","<1"]
["Site 8","2023-04","2023-04-04T08:25:00","ES2311136"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","0.298"," - ","0.0792"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","5.95","362"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","44","2","<0.1","4","3","27","1.44","1.68","<10"," - ","0.04","0.08","<0.01","0.08"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<2","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","13","183"," - ","10","<1","10"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-07","2023-07-12T11:00:00","ES2323181"," - ","0.69"," - "," - "," - "," - "," - "," - "," - "," - ","0.449"," - ","0.318"," - "," - ","0.08","0.04","0.18","0.22","<0.05","<0.05","<0.05","<0.05","0.11","<0.1","<0.02","<0.02","<0.02","<0.02","0.04","0.14","<0.02","<0.02","0.02","0.1","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.71"," - ","6.38","36"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","393","15","<0.1","31","24","180","14","11.7","4","8.79","4.85","0.06"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","14","1320"," - ","142","<1","142"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-08","2023-08-16T09:30:00","ES2327616"," - ","0.54"," - "," - "," - "," - "," - "," - "," - "," - ","4.77"," - ","0.117"," - "," - ","0.06","0.03","0.14","0.17","<0.05","<0.05","<0.05","<0.05","0.11","<0.1","<0.02","<0.02","<0.02","<0.02","0.03","0.11","<0.02","<0.02","0.02","0.06","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.56"," - ","6.61","20"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","230","18","0.1","24","21","122","9.2","8.72","18","2.7","3.08","0.23"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","16","915"," - ","117","<1","117"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-09","2023-09-26T15:00:00","ES2332954","<0.01","0.51","<0.01","<0.001","0.133","<0.0001","<0.001","<0.01","<0.001","<0.001","0.134","<0.001","0.216","<0.0001","<0.005","0.07","<0.01","0.14","0.14","<0.05","<0.05","<0.05","<0.05","0.08","<0.1","<0.02","<0.02","<0.02","<0.02","0.04","0.12","<0.02","<0.02","<0.02","0.06","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","0.51","794","6.77","474","<20","<50","<100","<50","<50","<20","<20","<100","<100","<100","<100","<100","399","19","<0.1","35","28","198","14.2","13.2","3","3.93","5.46","<0.01"," - "," - ","<5","<1","<2","<2","<2","<2","<2","<5","<5","<5","<5","<5","<5","<5","<5","<5","<1","<0.5","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<0.5","<1","<1","<1","<1","<1","<0.5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<50","<50","<50","<50","<50","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<1","1490","<2","146","<1","146","<1","<50","<50","<50","<50","<5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<2","<2","<0.5","<0.5","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.005","<0.01","<0.01","<0.01","<1"]
["Site 9","2023-04","2023-04-04T08:10:00","ES2311136"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","0.09"," - ","0.0356"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","5.98","<5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","97","6","<0.1","10","4","52","3.37","3.49","19","1.68","<0.01","0.56","<0.01",0.56000000000000005," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<2","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","6","363"," - ","12","<1","12"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-09","2023-09-28T15:00:00","ES2332954","<0.01","<0.01","0.11","<0.001","0.072","<0.0001","<0.001","<0.01","0.002","<0.001","0.419","<0.001","0.154","<0.0001","0.013","<0.01","<0.01","<0.01","<0.01","<0.05","<0.05","<0.05","<0.05","<0.02","<0.1","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.05","<0.02","<0.02","<0.05","<0.02","<0.05","<0.05","<0.02","<0.05","<0.01",258,5.34," - ","<20","<50",550,310,860,"<20","<20","<100","<100",790,"<100",790,106,4,0.2,10,10,50,3.55,3.45,22,1.35,1.52,0.63," - "," - ","<5","<1","<2","<2","<2","<2","<2","<5","<5","<5","<5","<5","<5","<5","<5","<5","<1","<0.5","<1","<1","<1","<1","<1","<1","<1","<1","<1","<1","<0.5","<1","<1","<1","<1","<1","<0.5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<50","<50","<50","<50","<50","<50","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","<5","30","421",11,"5","<1","5","<1","<50","<50","<50","<50","<5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<2","<2","<0.5","<0.5","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.005","<0.01","<0.01","<0.01","<1"]
["EPL Sample Requirement",null,null,null,null,null,null,null,null,null,null,null,null,null,4,null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,null,null,4,null,4,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4,null,4,4,4,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4]
["Samples Collected",null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(SUMPRODUCT(--(BN42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(BN42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},null,{"$f":"IF(SUMPRODUCT(--(BP42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(BP42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(SUMPRODUCT(--(CX42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(CX42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(CY42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(CY42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(CZ42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(CZ42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DA42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DA42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DB42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DB42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DC42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DC42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DD42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DD42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DE42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DE42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DF42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DF42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DG42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DG42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DH42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DH42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DI42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DI42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DJ42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DJ42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DK42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DK42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DL42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DL42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DM42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DM42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DN42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DN42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DO42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DO42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DP42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DP42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DQ42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DQ42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},null,null,{"$f":"IF(SUMPRODUCT(--(DT42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DT42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},null,{"$f":"IF(SUMPRODUCT(--(DV42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DV42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(DW42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(DW42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(SUMPRODUCT(--(HP42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(HP42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},null,{"$f":"IF(SUMPRODUCT(--(HR42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(HR42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(HS42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(HS42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},{"$f":"IF(SUMPRODUCT(--(HT42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(HT42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":4},4,null,{"$f":"IF(SUMPRODUCT(--(HW42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(HW42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(HX42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(HX42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(HY42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(HY42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(HZ42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(HZ42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IA42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IA42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IB42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IB42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IC42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IC42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(ID42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(ID42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IE42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IE42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IF42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IF42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IG42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IG42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IH42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IH42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(II42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(II42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IJ42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IJ42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IK42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IK42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IL42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IL42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IM42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IM42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IN42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IN42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IO42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IO42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IP42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IP42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IQ42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IQ42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IR42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IR42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IS42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IS42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},{"$f":"IF(SUMPRODUCT(--(IT42<>\"\")*(OFFSET($B$28:$B$31,-1,0)<>\"\"))=0, \"\", SUMPRODUCT(--(IT42<>\"\")*(OFFSET($B$12:$B$15,-1,0)<>\"\")))","v":""},4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4,4]
["Site 10","2023-04","2023-04-04T09:30:00","ES2311136"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ",4.76," - ",1.57," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ",8.18,21,110,1020,1450,80,2550,100,70,1040,1040,1280,"<100",2320,800,142,0.3,57,257,647,77.5,76.599999999999994,"<10",0.65,421,0.6,"<0.1",0.6,"<5","<1",22,"<2",4,"<2",4," - "," - "," - "," - "," - "," - "," - "," - "," - ",26," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","86.4","118","<4.8","<4.8","<4.8","<4.8","<4.8","<4.8","<4.8","<4.8","<4.8","<9.5"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","427"," - ","104","2750","<1","2750"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-07","2023-07-12T08:30:00","ES2323181"," - ",14.8," - "," - "," - "," - "," - "," - "," - "," - ",1.1299999999999999," - ",0.13200000000000001," - "," - ",2.25,1.8,2.96,4.76,"<0.05",0.31,0.1,7.0000000000000007E-2,3.97,1,"<0.05",0.05,"<0.05","<0.05",0.35,1.33,0.14000000000000001,7.0000000000000007E-2,0.12,0.7,"<0.12","<0.05","<0.05","<0.12",0.4,"<0.12","<0.12",0.66,"<0.12",16.3," - ",8.1999999999999993,28400,40,350,1210,430,1990,30,30,450,450,1370,270,2090,1950,70,"<10",61,508,1200,146,135,"<10",3.86,855,"<0.1"," - "," - ","<5","<1","<2","<2","<2","<2","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - ","<1"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<1000"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","1950"," - ","156","4530","<1","4530"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-08","2023-08-16T12:20:00","ES2327616"," - ",6.55," - "," - "," - "," - "," - "," - "," - "," - ",8.0500000000000007," - ",0.60899999999999999," - "," - ",0.61,0.38,1.31,1.69,"<0.05",0.1,"<0.05","<0.05",2.35,"<0.2","<0.05","<0.05","<0.05","<0.05",0.2,1.2,"<0.05","<0.05",0.05,0.4,"<0.12","<0.05","<0.05","<0.12","<0.05","<0.12","<0.12",0.11,"<0.12",6.71," - ",8.2100000000000009,49,"<20",300,740,"<50",1040,"<20","<20",420,420,620,"<100",1040,1120,94,0.5,63,359,909,99.1,102,19,1.45,609,"<0.1"," - "," - ","<5","<1","<2","<2","<2","<2","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - ","<1"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","313"," - ","36","3360","<1","3360"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<0.5","<2","<1"]
[null,"2023-09","2023-09-26T15:00:00","ES2332954"," - ",7.32,0.23,7.3999999999999996E-2,0.54600000000000004,"<0.0001"," - "," - "," - "," - ",10.4," - ",0.77500000000000002," - ",0.06,0.72,0.54,1.79,2.33,"<0.05",0.13,"<0.05","<0.05",2.31,"<0.1","<0.02","<0.02","<0.02","<0.02",0.36,1.47,"<0.02","<0.02",0.14000000000000001,"<0.02","<0.05","<0.02","<0.02","<0.05",0.03,"<0.05","<0.05",0.11,"<0.05",7.6,6510,8.31,33,"<20",390,840,"<50",1230,"<20","<20",540,540,700,"<100",1240,1950,125,0.6,93,587,1440,163,170,"<100",2.13,1130,"<0.5"," - "," - ","<5","<1","<2","<2","<2","<2","<2"," - "," - "," - "," - "," - "," - "," - "," - "," - ","<1"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<50"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","691",13000,"29","5200","<1","5400"," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - "," - ","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.01","<0.005","<0.01","<0.01","<0.01","200"]